## 5_Profil Pinpoint_
Measurement time: | 07/09/2022 18:27:16
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | PTW31014 perpendiculaire
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio | Normalisé
-151.4 | 0 | 28 | 4.88 | 1002.3 | 3.44 | 2.9903
-150.7 | 0 | 28 | 0.59 | 120.8 | 0.59 | 0.51287
-149.3 | 0 | 28 | 0.48 | 98.7 | 0.48 | 0.41725
-148.1 | 0 | 28 | 0.45 | 92.1 | 0.45 | 0.39117
-146.9 | 0 | 28 | 0.73 | 150.1 | 0.73 | 0.63456
-145.7 | 0 | 28 | 0.61 | 124.9 | 0.61 | 0.53025
-144.5 | 0 | 28 | 1.2 | 246.3 | 1.2 | 1.0431
-143.3 | 0 | 28 | 1.04 | 214.5 | 1.05 | 0.91273
-142.1 | 0 | 28 | 0.68 | 140.1 | 0.68 | 0.5911
-140.9 | 0 | 28 | 0.89 | 183 | 0.89 | 0.77364
-139.7 | 0 | 28 | 0.84 | 173 | 0.84 | 0.73018
-138.5 | 0 | 28 | 0.97 | 199.5 | 0.96 | 0.83449
-137.3 | 0 | 28 | 0.82 | 168.4 | 0.82 | 0.7128
-136.1 | 0 | 28 | 0.86 | 176.4 | 0.85 | 0.73887
-134.9 | 0 | 28 | 0.91 | 186.6 | 0.9 | 0.78234
-133.7 | 0 | 28 | 0.46 | 94.3 | 0.45 | 0.39117
-132.5 | 0 | 28 | 0.88 | 180.1 | 0.86 | 0.74757
-131.3 | 0 | 28 | 1.08 | 221.2 | 1.12 | 0.97357
-130.1 | 0 | 28 | 0.82 | 168.3 | 0.81 | 0.7041
-128.9 | 0 | 28 | 1.1 | 225.9 | 1.09 | 0.9475
-127.7 | 0 | 28 | 1.06 | 217.3 | 1.06 | 0.92142
-126.5 | 0 | 28 | 1.11 | 229.1 | 1.11 | 0.96488
-125.3 | 0 | 28 | 0.98 | 201.5 | 0.99 | 0.86057
-124.1 | 0 | 28 | 1.05 | 214.8 | 1.05 | 0.91273
-122.9 | 0 | 28 | 0.9 | 184.1 | 0.89 | 0.77364
-121.7 | 0 | 28 | 0.93 | 191.8 | 0.94 | 0.81711
-120.5 | 0 | 28 | 0.85 | 173.9 | 0.84 | 0.73018
-119.3 | 0 | 28 | 1.33 | 272.6 | 1.31 | 1.1387
-118.1 | 0 | 28 | 1.1 | 225.8 | 1.09 | 0.9475
-116.9 | 0 | 28 | 0.78 | 159.8 | 0.77 | 0.66933
-115.7 | 0 | 28 | 0.72 | 148.6 | 0.72 | 0.62587
-114.5 | 0 | 28 | 1.31 | 268.6 | 1.29 | 1.1213
-113.3 | 0 | 28 | 0.83 | 170.3 | 0.86 | 0.74757
-112 | 0 | 28 | 1.09 | 224.8 | 1.08 | 0.9388
-110.9 | 0 | 28 | 1.36 | 280.5 | 1.34 | 1.1648
-109.6 | 0 | 28 | 1.05 | 216.3 | 1.06 | 0.92142
-108.5 | 0 | 28 | 0.9 | 185.2 | 0.9 | 0.78234
-107.3 | 0 | 28 | 1.09 | 224.8 | 1.1 | 0.95619
-106 | 0 | 28 | 1.25 | 257.5 | 1.28 | 1.1127
-104.9 | 0 | 28 | 0.91 | 186.4 | 0.91 | 0.79103
-103.6 | 0 | 28 | 0.88 | 180.4 | 0.89 | 0.77364
-102.4 | 0 | 28 | 1.11 | 228.1 | 1.12 | 0.97357
-101.2 | 0 | 28 | 1.21 | 248 | 1.21 | 1.0518
-100 | 0 | 28 | 1.13 | 232.9 | 1.15 | 0.99965
-98.8 | 0 | 28 | 0.96 | 196.5 | 0.97 | 0.84318
-97.6 | 0 | 28 | 1.36 | 278.9 | 1.38 | 1.1996
-96.4 | 0 | 28 | 0.92 | 188.9 | 0.92 | 0.79972
-95.2 | 0 | 28 | 1.08 | 221.3 | 1.09 | 0.9475
-94 | 0 | 28 | 1.43 | 294.6 | 1.43 | 1.243
-92.8 | 0 | 28 | 1.19 | 244.3 | 1.18 | 1.0257
-91.6 | 0 | 28 | 1.13 | 233.1 | 1.12 | 0.97357
-90.4 | 0 | 28 | 1.49 | 305.9 | 1.48 | 1.2865
-89.2 | 0 | 28 | 1.45 | 297.4 | 1.44 | 1.2517
-88 | 0 | 28 | 1.88 | 385.7 | 1.87 | 1.6255
-86.8 | 0 | 28 | 1.72 | 354.1 | 1.72 | 1.4951
-85.6 | 0 | 28 | 1.75 | 359.8 | 1.76 | 1.5299
-84.4 | 0 | 28 | 1.68 | 344.4 | 1.68 | 1.4604
-83.2 | 0 | 28 | 2.35 | 482.3 | 2.33 | 2.0254
-82 | 0 | 28 | 2.3 | 472.9 | 2.32 | 2.0167
-80.8 | 0 | 28 | 2.12 | 435.5 | 2.14 | 1.8602
-79.6 | 0 | 28 | 2.67 | 548.3 | 2.66 | 2.3122
-78.4 | 0 | 28 | 2.83 | 581.1 | 2.86 | 2.4861
-77.2 | 0 | 28 | 3.04 | 624.3 | 3.08 | 2.6773
-76 | 0 | 28 | 3.28 | 674 | 3.24 | 2.8164
-74.8 | 0 | 28 | 3.6 | 739.3 | 3.68 | 3.1989
-73.6 | 0 | 28 | 4.4 | 903.7 | 4.36 | 3.79
-72.4 | 0 | 28 | 4.5 | 925.3 | 4.37 | 3.7987
-71.2 | 0 | 28 | 5.35 | 1100.3 | 5.45 | 4.7375
-70 | 0 | 28 | 6.32 | 1298.4 | 6.18 | 5.372
-68.8 | 0 | 28 | 6.96 | 1429.8 | 6.79 | 5.9023
-67.6 | 0 | 28 | 7.66 | 1574.9 | 7.75 | 6.7368
-66.4 | 0 | 28 | 9.31 | 1913.7 | 9.28 | 8.0668
-65.2 | 0 | 28 | 10.37 | 2131 | 10.42 | 9.0577
-64 | 0 | 28 | 11.97 | 2460.3 | 12.28 | 10.6745
-62.8 | 0 | 28 | 14.67 | 3014.7 | 14.43 | 12.5435
-61.6 | 0 | 28 | 16.93 | 3479.6 | 16.92 | 14.7079
-60.4 | 0 | 28 | 19.53 | 4012.4 | 19.94 | 17.3331
-59.2 | 0 | 28 | 24.16 | 4963.6 | 23.85 | 20.7319
-58 | 0 | 28 | 29.75 | 6113.8 | 28.42 | 24.7045
-56.8 | 0 | 28 | 32.8 | 6740.1 | 34 | 29.5549
-55.5 | 0 | 28 | 40.69 | 8360.6 | 40.21 | 34.9531
-54.3 | 0 | 28 | 48.98 | 10064.6 | 46.92 | 40.7858
-53.1 | 0 | 28 | 52.41 | 10768.9 | 54.01 | 46.9489
-51.9 | 0 | 28 | 61.79 | 12696.5 | 61.36 | 53.338
-50.7 | 0 | 28 | 70.84 | 14555.8 | 68.55 | 59.588
-49.5 | 0 | 28 | 72.75 | 14949.4 | 75.59 | 65.7076
-48.4 | 0 | 28 | 81.1 | 16663.8 | 81.72 | 71.0362
-47.1 | 0 | 28 | 90.75 | 18647.3 | 87.51 | 76.0692
-45.9 | 0 | 28 | 88.63 | 18212.1 | 92.44 | 80.3547
-44.7 | 0 | 28 | 95.02 | 19524.9 | 96.28 | 83.6926
-43.5 | 0 | 28 | 103.43 | 21252.3 | 99.75 | 86.709
-42.3 | 0 | 28 | 98.15 | 20168 | 102.08 | 88.7344
-41.1 | 0 | 28 | 104.73 | 21521.1 | 104.3 | 90.6641
-39.9 | 0 | 28 | 108.77 | 22349.9 | 105.72 | 91.8985
-38.7 | 0 | 28 | 103.53 | 21273.8 | 107.12 | 93.1154
-37.5 | 0 | 28 | 108.46 | 22285.6 | 108.33 | 94.1672
-36.3 | 0 | 28 | 112.96 | 23211 | 108.98 | 94.7323
-35.1 | 0 | 28 | 105.15 | 21607.1 | 109.89 | 95.5233
-33.9 | 0 | 28 | 110.91 | 22789.8 | 110.95 | 96.4447
-32.7 | 0 | 28 | 116.29 | 23896.4 | 111.45 | 96.8793
-31.5 | 0 | 28 | 108.24 | 22240.4 | 111.68 | 97.0793
-30.3 | 0 | 28 | 112.85 | 23188.5 | 112.08 | 97.427
-29.1 | 0 | 28 | 113.66 | 23354.1 | 111.99 | 97.3487
-27.9 | 0 | 28 | 108.64 | 22322.9 | 112.45 | 97.7486
-26.7 | 0 | 28 | 114.38 | 23503 | 113.34 | 98.5223
-25.5 | 0 | 28 | 117.35 | 24113.8 | 113.63 | 98.7743
-24.3 | 0 | 28 | 109.35 | 22468.7 | 113.63 | 98.7743
-23.1 | 0 | 28 | 112.26 | 23067.3 | 113.27 | 98.4614
-21.9 | 0 | 28 | 116.82 | 24005.3 | 113.69 | 98.8265
-20.7 | 0 | 28 | 113.23 | 23267.5 | 113.97 | 99.0699
-19.5 | 0 | 28 | 111.91 | 22995.6 | 114.53 | 99.5567
-18.3 | 0 | 28 | 113.92 | 23407.5 | 113.78 | 98.9047
-17.1 | 0 | 28 | 114.05 | 23435.7 | 114.61 | 99.6262
-15.9 | 0 | 28 | 112.62 | 23140.6 | 114.65 | 99.661
-14.7 | 0 | 28 | 113.35 | 23290.7 | 114.17 | 99.2437
-13.5 | 0 | 28 | 112.95 | 23208.7 | 114.34 | 99.3915
-12.3 | 0 | 28 | 109.77 | 22556.1 | 114.43 | 99.4697
-11.1 | 0 | 28 | 118.23 | 24294.8 | 114.42 | 99.4611
-9.9 | 0 | 28 | 109.47 | 22494.6 | 114.61 | 99.6262
-8.7 | 0 | 28 | 115.72 | 23778.8 | 115.04 | 100
-7.5 | 0 | 28 | 120.8 | 24822.3 | 114.92 | 99.8957
-6.2 | 0 | 28 | 110.94 | 22797 | 114.75 | 99.7479
-5.1 | 0 | 28 | 115.45 | 23721.9 | 114.81 | 99.8001
-3.8 | 0 | 28 | 119.85 | 24627.6 | 114.97 | 99.9392
-2.6 | 0 | 28 | 109.87 | 22577.2 | 114.65 | 99.661
-1.4 | 0 | 28 | 114.42 | 23511.9 | 114.96 | 99.9305
-0.2 | 0 | 28 | 119.36 | 24525.5 | 114.85 | 99.8348
1 | 0 | 28 | 109.16 | 22431.1 | 114.47 | 99.5045
2.2 | 0 | 28 | 114.11 | 23447.6 | 114.8 | 99.7914
3.4 | 0 | 28 | 119.88 | 24633.6 | 114.81 | 99.8001
4.6 | 0 | 28 | 111.04 | 22816.7 | 114.23 | 99.2959
5.8 | 0 | 28 | 115.72 | 23777.8 | 114.7 | 99.7045
7 | 0 | 28 | 119.12 | 24477.1 | 114.46 | 99.4958
8.2 | 0 | 28 | 112.15 | 23044.9 | 114.4 | 99.4437
9.4 | 0 | 28 | 116.2 | 23876.8 | 114.76 | 99.7566
10.6 | 0 | 28 | 118.91 | 24433.3 | 114.43 | 99.4697
11.8 | 0 | 28 | 110.02 | 22607.5 | 114.55 | 99.5741
13 | 0 | 28 | 113.55 | 23331.9 | 114.73 | 99.7305
14.2 | 0 | 28 | 118.04 | 24254.5 | 114.06 | 99.1481
15.4 | 0 | 28 | 111.68 | 22947.4 | 114.67 | 99.6784
16.6 | 0 | 28 | 114.19 | 23463.8 | 114.57 | 99.5914
17.8 | 0 | 28 | 117.3 | 24104 | 114.6 | 99.6175
19 | 0 | 28 | 111.79 | 22971.7 | 114.04 | 99.1307
20.2 | 0 | 28 | 113.39 | 23299.5 | 114.23 | 99.2959
21.4 | 0 | 28 | 116.54 | 23945.8 | 114.05 | 99.1394
22.6 | 0 | 28 | 111.36 | 22882.8 | 113.49 | 98.6526
23.8 | 0 | 28 | 114.53 | 23533.1 | 113.92 | 99.0264
25 | 0 | 28 | 114.55 | 23538.5 | 113.23 | 98.4266
26.2 | 0 | 28 | 111.24 | 22858.4 | 112.82 | 98.0702
27.4 | 0 | 28 | 113.38 | 23297 | 112.61 | 97.8877
28.6 | 0 | 28 | 112.62 | 23141.3 | 112.3 | 97.6182
29.8 | 0 | 28 | 110.07 | 22616.9 | 111.84 | 97.2184
31 | 0 | 28 | 112.55 | 23126.6 | 112.38 | 97.6878
32.2 | 0 | 28 | 113.94 | 23412.7 | 111.46 | 96.888
33.4 | 0 | 28 | 110.64 | 22734.7 | 110.47 | 96.0275
34.6 | 0 | 28 | 111.42 | 22894 | 110.17 | 95.7667
35.8 | 0 | 28 | 105.62 | 21703.8 | 108.88 | 94.6453
37 | 0 | 28 | 107.71 | 22132.2 | 108.34 | 94.1759
38.2 | 0 | 28 | 106.97 | 21980.7 | 106.75 | 92.7938
39.4 | 0 | 28 | 108.12 | 22217.6 | 105.47 | 91.6812
40.6 | 0 | 28 | 104.4 | 21452.1 | 104.02 | 90.4207
41.8 | 0 | 28 | 97.04 | 19939.1 | 101.26 | 88.0216
43 | 0 | 28 | 100.56 | 20664.1 | 98.56 | 85.6745
44.2 | 0 | 28 | 93.99 | 19314 | 95.14 | 82.7017
45.4 | 0 | 28 | 90.6 | 18616.2 | 90.86 | 78.9812
46.6 | 0 | 28 | 86.31 | 17734.6 | 85.75 | 74.5393
47.8 | 0 | 28 | 78.3 | 16089.2 | 79.22 | 68.863
49 | 0 | 28 | 71.64 | 14720 | 73.03 | 63.4823
50.3 | 0 | 28 | 64.89 | 13333.3 | 65.81 | 57.2062
51.5 | 0 | 28 | 56.81 | 11672.9 | 58.17 | 50.565
52.6 | 0 | 28 | 52.6 | 10807.9 | 50.88 | 44.2281
53.9 | 0 | 28 | 43.13 | 8861.4 | 43.53 | 37.839
55.1 | 0 | 28 | 36.79 | 7560 | 36.75 | 31.9454
56.3 | 0 | 28 | 30.42 | 6249.8 | 30.85 | 26.8168
57.5 | 0 | 28 | 26.4 | 5425.2 | 26.01 | 22.6095
58.6 | 0 | 28 | 21.45 | 4408.3 | 21.62 | 18.7935
59.9 | 0 | 28 | 18.29 | 3758.7 | 18.15 | 15.7771
61.1 | 0 | 28 | 15.4 | 3163.5 | 15.12 | 13.1433
62.3 | 0 | 28 | 12.62 | 2593 | 12.65 | 10.9962
63.5 | 0 | 28 | 10.69 | 2197 | 10.55 | 9.1707
64.7 | 0 | 28 | 9.1 | 1869.8 | 8.97 | 7.7973
65.9 | 0 | 28 | 7.8 | 1602.7 | 7.74 | 6.7281
67.1 | 0 | 28 | 6.95 | 1428 | 6.83 | 5.9371
68.3 | 0 | 28 | 5.93 | 1218.5 | 6.15 | 5.346
69.5 | 0 | 28 | 5 | 1027.8 | 4.97 | 4.3202
70.7 | 0 | 28 | 4.14 | 850.5 | 4.12 | 3.5814
71.9 | 0 | 28 | 3.81 | 782 | 3.78 | 3.2858
73.1 | 0 | 28 | 3.61 | 742.4 | 3.6 | 3.1293
74.3 | 0 | 28 | 2.95 | 605.6 | 2.94 | 2.5556
75.5 | 0 | 28 | 2.47 | 507.9 | 2.49 | 2.1645
76.7 | 0 | 28 | 2.17 | 446.1 | 2.17 | 1.8863
77.9 | 0 | 28 | 2.1 | 431.6 | 2.13 | 1.8515
79.1 | 0 | 28 | 2.04 | 418.7 | 2.03 | 1.7646
80.3 | 0 | 28 | 1.66 | 341.7 | 1.68 | 1.4604
81.5 | 0 | 28 | 1.54 | 316.5 | 1.56 | 1.3561
82.7 | 0 | 28 | 1.47 | 301.1 | 1.44 | 1.2517
83.9 | 0 | 28 | 1.4 | 287.9 | 1.4 | 1.217
85.1 | 0 | 28 | 1.57 | 322.6 | 1.56 | 1.3561
86.3 | 0 | 28 | 1.55 | 319.1 | 1.54 | 1.3387
87.5 | 0 | 28 | 0.97 | 198.6 | 0.97 | 0.84318
88.7 | 0 | 28 | 0.93 | 191.6 | 0.91 | 0.79103
89.9 | 0 | 28 | 0.85 | 175.4 | 0.86 | 0.74757
91.1 | 0 | 28 | 1.15 | 235.3 | 1.13 | 0.98227
92.3 | 0 | 28 | 1.26 | 259.7 | 1.31 | 1.1387
93.5 | 0 | 28 | 1.06 | 217.6 | 1.05 | 0.91273
94.7 | 0 | 28 | 0.84 | 173 | 0.84 | 0.73018
95.9 | 0 | 28 | 1.08 | 221.3 | 1.08 | 0.9388
97.1 | 0 | 28 | 0.56 | 114.8 | 0.56 | 0.48679
98.3 | 0 | 28 | 0.26 | 52.6 | 0.26 | 0.22601
99.5 | 0 | 28 | 0.52 | 106.1 | 0.52 | 0.45202
100.7 | 0 | 28 | 0.34 | 70.5 | 0.34 | 0.29555
101.9 | 0 | 28 | 0.43 | 88.4 | 0.43 | 0.37378
103.2 | 0 | 28 | 0.75 | 153.3 | 0.75 | 0.65195
104.4 | 0 | 28 | 0.63 | 130.1 | 0.64 | 0.55633
105.6 | 0 | 28 | 0.34 | 69.4 | 0.34 | 0.29555
106.8 | 0 | 28 | 0.4 | 82.9 | 0.4 | 0.34771
108 | 0 | 28 | 0.8 | 165 | 0.79 | 0.68672
109.2 | 0 | 28 | 0.54 | 110.7 | 0.53 | 0.46071
110.4 | 0 | 28 | 0.55 | 113.9 | 0.55 | 0.47809
111.6 | 0 | 28 | 0.4 | 83 | 0.4 | 0.34771
112.8 | 0 | 28 | 0.51 | 104.3 | 0.5 | 0.43463
114 | 0 | 28 | 0.69 | 142.1 | 0.68 | 0.5911
115.2 | 0 | 28 | 0.38 | 77.7 | 0.39 | 0.33901
116.4 | 0 | 28 | 0.38 | 77.8 | 0.38 | 0.33032
117.6 | 0 | 28 | 0.19 | 39.2 | 0.19 | 0.16516
118.8 | 0 | 28 | 0.47 | 97.2 | 0.47 | 0.40855
120 | 0 | 28 | 0.39 | 80 | 0.38 | 0.33032
121.2 | 0 | 28 | 0.35 | 72.5 | 0.36 | 0.31293
122.4 | 0 | 28 | 0.09 | 17.7 | 0.09 | 0.078234
123.6 | 0 | 28 | 0.6 | 122.7 | 0.58 | 0.50417
124.8 | 0 | 28 | 0.51 | 104.8 | 0.53 | 0.46071
126 | 0 | 28 | 0.52 | 106.9 | 0.52 | 0.45202
127.2 | 0 | 28 | 0.51 | 104.6 | 0.51 | 0.44332
128.4 | 0 | 28 | 0.45 | 92.8 | 0.45 | 0.39117
129.6 | 0 | 28 | 0.2 | 40.7 | 0.2 | 0.17385
130.8 | 0 | 28 | 0.1 | 19.6 | 0.1 | 0.086926
132 | 0 | 28 | 0.16 | 33 | 0.16 | 0.13908
133.2 | 0 | 28 | 0.6 | 124 | 0.59 | 0.51287
134.4 | 0 | 28 | 0.44 | 89.4 | 0.44 | 0.38248
135.6 | 0 | 28 | 0.01 | 2.5 | 0.01 | 0.0086926
136.8 | 0 | 28 | 0.39 | 80.3 | 0.39 | 0.33901
138 | 0 | 28 | 0.01 | 2.2 | 0.01 | 0.0086926
139.2 | 0 | 28 | 0.16 | 32.7 | 0.16 | 0.13908
140.4 | 0 | 28 | 0.56 | 114.1 | 0.56 | 0.48679
141.6 | 0 | 28 | 0.64 | 130.9 | 0.62 | 0.53894
142.8 | 0 | 28 | 0.27 | 54.7 | 0.28 | 0.24339
144 | 0 | 28 | 0.23 | 48.1 | 0.23 | 0.19993
145.2 | 0 | 28 | 0.33 | 68.6 | 0.33 | 0.28686
146.4 | 0 | 28 | 0.52 | 106.8 | 0.52 | 0.45202
147.6 | 0 | 28 | 0.54 | 111.2 | 0.54 | 0.4694
148.8 | 0 | 28 | 0.58 | 118.4 | 0.58 | 0.50417
150 | 0 | 28 | 0 | 1 | 0 | 0
151.4 | 0 | 28 | 0.5 | 101.7 | 0.49 | 0.42594
Measurement time: | 29/09/2022 19:19:17
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | ROOS
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio | Normalisé
-151.4 | 0 | 28 | 0.3 | 1705.9 | 0.31 | 0.31
-150.4 | 0 | 28 | 0.3 | 1719.2 | 0.28 | 0.28
-149 | 0 | 28 | 0.31 | 1737.6 | 0.27 | 0.27
-147.8 | 0 | 28 | 0.29 | 1672.7 | 0.27 | 0.27
-146.7 | 0 | 28 | 0.31 | 1789 | 0.28 | 0.28
-145.4 | 0 | 28 | 0.31 | 1784.4 | 0.28 | 0.28
-144.2 | 0 | 28 | 0.31 | 1754.7 | 0.29 | 0.29
-143 | 0 | 28 | 0.35 | 1999.2 | 0.3 | 0.3
-141.8 | 0 | 28 | 0.31 | 1770.8 | 0.29 | 0.29
-140.6 | 0 | 28 | 0.34 | 1910.2 | 0.29 | 0.29
-139.4 | 0 | 28 | 0.33 | 1853.9 | 0.29 | 0.29
-138.2 | 0 | 28 | 0.29 | 1665.8 | 0.28 | 0.28
-137 | 0 | 28 | 0.3 | 1724.4 | 0.26 | 0.26
-135.8 | 0 | 28 | 0.32 | 1820.3 | 0.3 | 0.3
-134.6 | 0 | 28 | 0.33 | 1906.2 | 0.3 | 0.3
-133.4 | 0 | 28 | 0.31 | 1739.5 | 0.28 | 0.28
-132.2 | 0 | 28 | 0.31 | 1763.4 | 0.29 | 0.29
-131 | 0 | 28 | 0.32 | 1841.3 | 0.28 | 0.28
-129.8 | 0 | 28 | 0.31 | 1770.8 | 0.29 | 0.29
-128.6 | 0 | 28 | 0.31 | 1786.3 | 0.28 | 0.28
-127.4 | 0 | 28 | 0.33 | 1860.2 | 0.29 | 0.29
-126.2 | 0 | 28 | 0.31 | 1750.2 | 0.29 | 0.29
-125 | 0 | 28 | 0.33 | 1882.2 | 0.28 | 0.28
-123.8 | 0 | 28 | 0.3 | 1714 | 0.28 | 0.28
-122.6 | 0 | 28 | 0.33 | 1853.8 | 0.3 | 0.3
-121.4 | 0 | 28 | 0.32 | 1802.6 | 0.29 | 0.29
-120.2 | 0 | 28 | 0.32 | 1830.7 | 0.29 | 0.29
-119 | 0 | 28 | 0.34 | 1913.4 | 0.29 | 0.29
-117.7 | 0 | 28 | 0.33 | 1893.1 | 0.32 | 0.32
-116.6 | 0 | 28 | 0.32 | 1848.2 | 0.3 | 0.3
-115.4 | 0 | 28 | 0.32 | 1837.2 | 0.29 | 0.29
-114.2 | 0 | 28 | 0.35 | 1992.6 | 0.32 | 0.32
-113 | 0 | 28 | 0.36 | 2054.5 | 0.31 | 0.31
-111.7 | 0 | 28 | 0.34 | 1949.4 | 0.32 | 0.32
-110.6 | 0 | 28 | 0.36 | 2076.6 | 0.33 | 0.33
-109.3 | 0 | 28 | 0.37 | 2086.1 | 0.34 | 0.34
-108.2 | 0 | 28 | 0.37 | 2132.1 | 0.34 | 0.34
-107 | 0 | 28 | 0.43 | 2430.2 | 0.37 | 0.37
-105.7 | 0 | 28 | 0.4 | 2278.2 | 0.38 | 0.38
-104.6 | 0 | 28 | 0.44 | 2498.8 | 0.4 | 0.4
-103.3 | 0 | 28 | 0.43 | 2455.4 | 0.4 | 0.4
-102.1 | 0 | 28 | 0.47 | 2671.2 | 0.42 | 0.42
-100.9 | 0 | 28 | 0.49 | 2766.6 | 0.43 | 0.43
-99.7 | 0 | 28 | 0.49 | 2815.8 | 0.46 | 0.46
-98.5 | 0 | 28 | 0.53 | 3031.4 | 0.5 | 0.5
-97.3 | 0 | 28 | 0.58 | 3310.9 | 0.53 | 0.53
-96.1 | 0 | 28 | 0.63 | 3607.3 | 0.57 | 0.57
-94.9 | 0 | 28 | 0.71 | 4039.1 | 0.61 | 0.61
-93.7 | 0 | 28 | 0.77 | 4387.6 | 0.68 | 0.68
-92.5 | 0 | 28 | 0.82 | 4666.2 | 0.76 | 0.76
-91.3 | 0 | 28 | 0.88 | 4984.4 | 0.81 | 0.81
-90.1 | 0 | 28 | 1.01 | 5759.6 | 0.91 | 0.91
-88.9 | 0 | 28 | 1.17 | 6679 | 1.01 | 1.01
-87.7 | 0 | 28 | 1.19 | 6761.9 | 1.12 | 1.12
-86.5 | 0 | 28 | 1.45 | 8242.1 | 1.26 | 1.26
-85.3 | 0 | 28 | 1.47 | 8357.5 | 1.38 | 1.38
-84.1 | 0 | 28 | 1.82 | 10376.7 | 1.57 | 1.57
-82.9 | 0 | 28 | 1.95 | 11123.9 | 1.75 | 1.75
-81.7 | 0 | 28 | 2.07 | 11754.7 | 1.96 | 1.96
-80.5 | 0 | 28 | 2.53 | 14404 | 2.2 | 2.2
-79.3 | 0 | 28 | 2.58 | 14693 | 2.45 | 2.45
-78.1 | 0 | 28 | 3.17 | 18052.7 | 2.8 | 2.8
-76.9 | 0 | 28 | 3.56 | 20260.6 | 3.1 | 3.1
-75.6 | 0 | 28 | 3.71 | 21096.7 | 3.52 | 3.52
-74.5 | 0 | 28 | 4.52 | 25712.8 | 3.93 | 3.93
-73.2 | 0 | 28 | 4.74 | 26967.2 | 4.45 | 4.45
-72 | 0 | 28 | 5.82 | 33135 | 5.04 | 5.04
-70.9 | 0 | 28 | 6.54 | 37248.1 | 5.82 | 5.82
-69.6 | 0 | 28 | 6.94 | 39496.3 | 6.6 | 6.6
-68.4 | 0 | 28 | 8.76 | 49831.9 | 7.63 | 7.63
-67.2 | 0 | 28 | 9.42 | 53602.8 | 8.79 | 8.79
-66 | 0 | 28 | 11.82 | 67267.1 | 10.28 | 10.28
-64.8 | 0 | 28 | 13.5 | 76828.5 | 11.96 | 11.96
-63.6 | 0 | 28 | 15.45 | 87938.5 | 14.08 | 14.08
-62.4 | 0 | 28 | 18.16 | 103381.4 | 16.47 | 16.47
-61.2 | 0 | 28 | 20.48 | 116591.3 | 19.22 | 19.22
-60 | 0 | 28 | 25.58 | 145616.3 | 22.55 | 22.55
-58.8 | 0 | 28 | 30.36 | 172804.4 | 26.18 | 26.18
-57.6 | 0 | 28 | 31.89 | 181502.5 | 30.38 | 30.38
-56.4 | 0 | 28 | 40.16 | 228607 | 34.68 | 34.68
-55.2 | 0 | 28 | 41.68 | 237216.3 | 39.4 | 39.4
-54 | 0 | 28 | 50.67 | 288383.6 | 44.69 | 44.69
-52.8 | 0 | 28 | 57.52 | 327409.9 | 49.78 | 49.78
-51.6 | 0 | 28 | 58 | 330098.5 | 55.03 | 55.03
-50.4 | 0 | 28 | 69.54 | 395820.8 | 60.11 | 60.11
-49.2 | 0 | 28 | 68.67 | 390829.2 | 64.8 | 64.8
-48 | 0 | 28 | 79.84 | 454447.4 | 69.49 | 69.49
-46.7 | 0 | 28 | 85.26 | 485260.7 | 74.04 | 74.04
-45.5 | 0 | 28 | 82.72 | 470833.8 | 77.75 | 77.75
-44.4 | 0 | 28 | 88.76 | 505192.9 | 80.95 | 80.95
-43.1 | 0 | 28 | 92.39 | 525852 | 83.94 | 83.94
-42 | 0 | 28 | 93.5 | 532154.8 | 86.13 | 86.13
-40.7 | 0 | 28 | 102.31 | 582304.3 | 88.6 | 88.6
-39.5 | 0 | 28 | 94.72 | 539144.5 | 90.23 | 90.23
-38.3 | 0 | 28 | 100.22 | 570434.4 | 91.62 | 91.62
-37.1 | 0 | 28 | 99.94 | 568850.2 | 92.58 | 92.58
-35.9 | 0 | 28 | 104.54 | 595022.5 | 93.45 | 93.45
-34.7 | 0 | 28 | 109.29 | 622050.2 | 94.52 | 94.52
-33.5 | 0 | 28 | 101.3 | 576550 | 95.29 | 95.29
-32.3 | 0 | 28 | 103.63 | 589824.3 | 95.82 | 95.82
-31.1 | 0 | 28 | 103.54 | 589327.6 | 96.24 | 96.24
-29.9 | 0 | 28 | 109.04 | 620619.3 | 96.55 | 96.55
-28.7 | 0 | 28 | 110.89 | 631172.1 | 96.55 | 96.55
-27.5 | 0 | 28 | 104.14 | 592743.7 | 97.42 | 97.42
-26.3 | 0 | 28 | 104.8 | 596499.7 | 97.61 | 97.61
-25.1 | 0 | 28 | 106.25 | 604771.9 | 98.01 | 98.01
-23.9 | 0 | 28 | 109.46 | 623001.9 | 98.06 | 98.06
-22.7 | 0 | 28 | 113.62 | 646702.6 | 97.87 | 97.87
-21.5 | 0 | 28 | 103.99 | 591873.4 | 98.41 | 98.41
-20.3 | 0 | 28 | 106.36 | 605354.8 | 98.72 | 98.72
-19 | 0 | 28 | 105.6 | 601066.9 | 98.89 | 98.89
-17.8 | 0 | 28 | 110.54 | 629148.4 | 98.67 | 98.67
-16.6 | 0 | 28 | 114.66 | 652594.2 | 98.94 | 98.94
-15.4 | 0 | 28 | 104.13 | 592691 | 98.99 | 98.99
-14.2 | 0 | 28 | 113.85 | 647982.4 | 99.23 | 99.23
-13 | 0 | 28 | 105.45 | 600217.5 | 99.38 | 99.38
-11.8 | 0 | 28 | 114.4 | 651129.2 | 99.26 | 99.26
-10.6 | 0 | 28 | 110.47 | 628782.9 | 99.25 | 99.25
-9.4 | 0 | 28 | 112.03 | 637640.6 | 99.44 | 99.44
-8.2 | 0 | 28 | 106.4 | 605627 | 99.56 | 99.56
-7 | 0 | 28 | 111.89 | 636867.3 | 99.6 | 99.6
-5.8 | 0 | 28 | 105.45 | 600174.8 | 99.7 | 99.7
-4.6 | 0 | 28 | 111.38 | 633943.1 | 99.67 | 99.67
-3.4 | 0 | 28 | 109.93 | 625699.1 | 99.76 | 99.76
-2.2 | 0 | 28 | 108.23 | 616004.2 | 99.71 | 99.71
-1 | 0 | 28 | 113.43 | 645626 | 99.78 | 99.78
0.2 | 0 | 28 | 105.41 | 599969.6 | 99.5 | 99.5
1.4 | 0 | 28 | 112.25 | 638925.2 | 99.74 | 99.74
2.6 | 0 | 28 | 103.96 | 591721.8 | 99.88 | 99.88
3.8 | 0 | 28 | 114.65 | 652582.8 | 100 | 100
5 | 0 | 28 | 111.91 | 636970.7 | 99.85 | 99.85
6.2 | 0 | 28 | 105.25 | 599043 | 99.62 | 99.62
7.4 | 0 | 28 | 112.19 | 638570.8 | 99.72 | 99.72
8.7 | 0 | 28 | 106.12 | 604024.4 | 99.8 | 99.8
9.8 | 0 | 28 | 110.47 | 628790.6 | 99.81 | 99.81
11.1 | 0 | 28 | 103.98 | 591852 | 99.69 | 99.69
12.2 | 0 | 28 | 114.55 | 652015.9 | 99.19 | 99.19
13.5 | 0 | 28 | 112.53 | 640493.2 | 99.7 | 99.7
14.7 | 0 | 28 | 105.54 | 600695.3 | 99.66 | 99.66
15.8 | 0 | 28 | 114.24 | 650240.9 | 99.5 | 99.5
17.1 | 0 | 28 | 106.04 | 603571.3 | 99.47 | 99.47
18.3 | 0 | 28 | 113.97 | 648715.2 | 98.96 | 98.96
19.5 | 0 | 28 | 111.67 | 635619.7 | 99.06 | 99.06
20.7 | 0 | 28 | 106.44 | 605812 | 99.06 | 99.06
21.9 | 0 | 28 | 107.64 | 612654.3 | 99 | 99
23.1 | 0 | 28 | 110.21 | 627285.7 | 98.83 | 98.83
24.3 | 0 | 28 | 113.01 | 643204.2 | 98.39 | 98.39
25.5 | 0 | 28 | 111.69 | 635716.9 | 97.97 | 97.97
26.7 | 0 | 28 | 98.77 | 562170.3 | 97.97 | 97.97
27.9 | 0 | 28 | 111.11 | 632384.3 | 97.77 | 97.77
29.1 | 0 | 28 | 102.71 | 584578 | 97.36 | 97.36
30.3 | 0 | 28 | 110.53 | 629112.5 | 96.59 | 96.59
31.5 | 0 | 28 | 104.56 | 595103.5 | 96.32 | 96.32
32.7 | 0 | 28 | 102.25 | 581959.6 | 95.68 | 95.68
33.9 | 0 | 28 | 108.84 | 619507.2 | 94.91 | 94.91
35.1 | 0 | 28 | 99.86 | 568401.6 | 93.92 | 93.92
36.3 | 0 | 28 | 105.55 | 600747.1 | 92.82 | 92.82
37.5 | 0 | 28 | 102.41 | 582871.6 | 91.37 | 91.37
38.7 | 0 | 28 | 92.8 | 528199.8 | 89.89 | 89.89
39.9 | 0 | 28 | 100.64 | 572813.9 | 87.97 | 87.97
41.1 | 0 | 28 | 90.14 | 513029.6 | 85.69 | 85.69
42.3 | 0 | 28 | 92.51 | 526565.3 | 82.95 | 82.95
43.5 | 0 | 28 | 88.35 | 502871.1 | 79.56 | 79.56
44.8 | 0 | 28 | 80.41 | 457662.8 | 75.83 | 75.83
46 | 0 | 28 | 82.08 | 467166.9 | 72.05 | 72.05
47.2 | 0 | 28 | 73.63 | 419080.1 | 67.87 | 67.87
48.3 | 0 | 28 | 72.55 | 412939.7 | 62.64 | 62.64
49.6 | 0 | 28 | 63.92 | 363801.4 | 57.84 | 57.84
50.8 | 0 | 28 | 59.94 | 341178.1 | 52.25 | 52.25
52 | 0 | 28 | 50.64 | 288211.5 | 47.46 | 47.46
53.2 | 0 | 28 | 47.01 | 267589.3 | 42.1 | 42.1
54.4 | 0 | 28 | 40.17 | 228656 | 36.99 | 36.99
55.6 | 0 | 28 | 36.9 | 210052.1 | 32.41 | 32.41
56.8 | 0 | 28 | 30.35 | 172730.9 | 27.84 | 27.84
58 | 0 | 28 | 25.81 | 146905.8 | 24.05 | 24.05
59.2 | 0 | 28 | 22.84 | 129980.5 | 20.49 | 20.49
60.4 | 0 | 28 | 18.9 | 107583.2 | 17.55 | 17.55
61.6 | 0 | 28 | 16.11 | 91712.6 | 15.03 | 15.03
62.8 | 0 | 28 | 14.78 | 84116.1 | 12.72 | 12.72
64 | 0 | 28 | 11.78 | 67030.5 | 11.02 | 11.02
65.2 | 0 | 28 | 10.79 | 61416.8 | 9.42 | 9.42
66.4 | 0 | 28 | 8.51 | 48454.8 | 8.1 | 8.1
67.6 | 0 | 28 | 7.59 | 43185.6 | 7.03 | 7.03
68.8 | 0 | 28 | 7.03 | 40021.6 | 6.08 | 6.08
70 | 0 | 28 | 5.9 | 33561.8 | 5.34 | 5.34
71.3 | 0 | 28 | 5.33 | 30358.7 | 4.66 | 4.66
72.5 | 0 | 28 | 4.38 | 24949.5 | 4.09 | 4.09
73.7 | 0 | 28 | 3.91 | 22271.2 | 3.63 | 3.63
74.9 | 0 | 28 | 3.61 | 20529.3 | 3.21 | 3.21
76.1 | 0 | 28 | 3.28 | 18661.4 | 2.83 | 2.83
77.3 | 0 | 28 | 2.72 | 15456.3 | 2.55 | 2.55
78.5 | 0 | 28 | 2.58 | 14689.8 | 2.24 | 2.24
79.7 | 0 | 28 | 2.18 | 12398.1 | 2.02 | 2.02
80.9 | 0 | 28 | 1.9 | 10828.5 | 1.77 | 1.77
82.1 | 0 | 28 | 1.79 | 10193 | 1.59 | 1.59
83.3 | 0 | 28 | 1.49 | 8469.2 | 1.41 | 1.41
84.5 | 0 | 28 | 1.47 | 8358 | 1.26 | 1.26
85.7 | 0 | 28 | 1.2 | 6813.2 | 1.11 | 1.11
86.9 | 0 | 28 | 1.07 | 6109.7 | 0.99 | 0.99
88.1 | 0 | 28 | 1.01 | 5758.3 | 0.89 | 0.89
89.3 | 0 | 28 | 0.85 | 4814.6 | 0.79 | 0.79
90.5 | 0 | 28 | 0.83 | 4702.1 | 0.71 | 0.71
91.7 | 0 | 28 | 0.7 | 3984.6 | 0.65 | 0.65
92.9 | 0 | 28 | 0.64 | 3641.1 | 0.59 | 0.59
94.1 | 0 | 28 | 0.58 | 3311.8 | 0.52 | 0.52
95.3 | 0 | 28 | 0.53 | 3014.8 | 0.5 | 0.5
96.5 | 0 | 28 | 0.52 | 2955.6 | 0.45 | 0.45
97.7 | 0 | 28 | 0.45 | 2584.8 | 0.42 | 0.42
98.9 | 0 | 28 | 0.42 | 2392.4 | 0.39 | 0.39
100.1 | 0 | 28 | 0.44 | 2512.3 | 0.39 | 0.39
101.4 | 0 | 28 | 0.41 | 2321.9 | 0.37 | 0.37
102.5 | 0 | 28 | 0.37 | 2095.7 | 0.34 | 0.34
103.8 | 0 | 28 | 0.38 | 2172.6 | 0.33 | 0.33
105 | 0 | 28 | 0.33 | 1868.7 | 0.31 | 0.31
106.2 | 0 | 28 | 0.35 | 2001.8 | 0.31 | 0.31
107.4 | 0 | 28 | 0.33 | 1902.8 | 0.31 | 0.31
108.6 | 0 | 28 | 0.33 | 1900.5 | 0.3 | 0.3
109.8 | 0 | 28 | 0.32 | 1824.5 | 0.28 | 0.28
111 | 0 | 28 | 0.3 | 1733.4 | 0.29 | 0.29
112.2 | 0 | 28 | 0.31 | 1748.9 | 0.27 | 0.27
113.4 | 0 | 28 | 0.28 | 1585.2 | 0.26 | 0.26
114.6 | 0 | 28 | 0.28 | 1620.5 | 0.26 | 0.26
115.8 | 0 | 28 | 0.32 | 1810.1 | 0.27 | 0.27
117 | 0 | 28 | 0.27 | 1559.9 | 0.25 | 0.25
118.2 | 0 | 28 | 0.28 | 1598.7 | 0.24 | 0.24
119.4 | 0 | 28 | 0.28 | 1582.1 | 0.26 | 0.26
120.6 | 0 | 28 | 0.28 | 1604.3 | 0.26 | 0.26
121.8 | 0 | 28 | 0.26 | 1497.8 | 0.24 | 0.24
123 | 0 | 28 | 0.25 | 1416.7 | 0.23 | 0.23
124.2 | 0 | 28 | 0.27 | 1556.2 | 0.23 | 0.23
125.4 | 0 | 28 | 0.24 | 1364.9 | 0.23 | 0.23
126.6 | 0 | 28 | 0.25 | 1409.2 | 0.23 | 0.23
127.8 | 0 | 28 | 0.27 | 1510.8 | 0.24 | 0.24
129 | 0 | 28 | 0.23 | 1322.2 | 0.21 | 0.21
130.2 | 0 | 28 | 0.26 | 1472 | 0.22 | 0.22
131.4 | 0 | 28 | 0.24 | 1347.1 | 0.22 | 0.22
132.6 | 0 | 28 | 0.25 | 1399.7 | 0.22 | 0.22
133.8 | 0 | 28 | 0.24 | 1370.2 | 0.22 | 0.22
135 | 0 | 28 | 0.24 | 1353.6 | 0.22 | 0.22
136.2 | 0 | 28 | 0.23 | 1320.4 | 0.2 | 0.2
137.5 | 0 | 28 | 0.23 | 1296.3 | 0.22 | 0.22
138.7 | 0 | 28 | 0.21 | 1178.7 | 0.19 | 0.19
139.8 | 0 | 28 | 0.23 | 1310.5 | 0.21 | 0.21
141.1 | 0 | 28 | 0.24 | 1388 | 0.21 | 0.21
142.3 | 0 | 28 | 0.23 | 1286.4 | 0.2 | 0.2
143.5 | 0 | 28 | 0.21 | 1191.6 | 0.2 | 0.2
144.7 | 0 | 28 | 0.22 | 1226.6 | 0.19 | 0.19
145.9 | 0 | 28 | 0.2 | 1125.9 | 0.18 | 0.18
147.1 | 0 | 28 | 0.22 | 1254.8 | 0.2 | 0.2
148.3 | 0 | 28 | 0.23 | 1287.5 | 0.2 | 0.2
149.5 | 0 | 28 | 0.22 | 1236.5 | 0.21 | 0.21
151.4 | 0 | 28 | 0.23 | 1314.4 | 0.21 | 0.21
Measurement time: | 02/09/2022 20:44:47
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio | Nromalisé
-151.4 | 0 | 28 | 1.76 | 2581.1 | 1.94 | 1.5706
-150.6 | 0 | 28 | 1.72 | 2526.5 | 1.58 | 1.2791
-149.3 | 0 | 28 | 1.71 | 2502 | 1.56 | 1.263
-148.1 | 0 | 28 | 1.73 | 2530.3 | 1.51 | 1.2225
-146.9 | 0 | 28 | 1.73 | 2530.4 | 1.61 | 1.3034
-145.7 | 0 | 28 | 1.71 | 2505.3 | 1.55 | 1.2549
-144.5 | 0 | 28 | 1.75 | 2566 | 1.51 | 1.2225
-143.3 | 0 | 28 | 1.83 | 2679.8 | 1.73 | 1.4006
-142.1 | 0 | 28 | 1.76 | 2571.7 | 1.65 | 1.3358
-140.9 | 0 | 28 | 1.7 | 2495.2 | 1.47 | 1.1901
-139.7 | 0 | 28 | 1.77 | 2588.1 | 1.66 | 1.3439
-138.5 | 0 | 28 | 1.77 | 2589.5 | 1.68 | 1.3601
-137.3 | 0 | 28 | 1.67 | 2450.5 | 1.44 | 1.1658
-136.1 | 0 | 28 | 1.72 | 2524.8 | 1.63 | 1.3196
-134.9 | 0 | 28 | 1.77 | 2591.1 | 1.67 | 1.352
-133.7 | 0 | 28 | 1.74 | 2547.9 | 1.51 | 1.2225
-132.5 | 0 | 28 | 1.74 | 2549.7 | 1.62 | 1.3115
-131.3 | 0 | 28 | 1.72 | 2519.9 | 1.56 | 1.263
-130.1 | 0 | 28 | 1.78 | 2606.6 | 1.54 | 1.2468
-128.9 | 0 | 28 | 1.77 | 2589.6 | 1.67 | 1.352
-127.7 | 0 | 28 | 1.79 | 2627.4 | 1.62 | 1.3115
-126.5 | 0 | 28 | 1.73 | 2535.8 | 1.51 | 1.2225
-125.3 | 0 | 28 | 1.74 | 2544.3 | 1.65 | 1.3358
-124.1 | 0 | 28 | 1.69 | 2482.2 | 1.55 | 1.2549
-122.9 | 0 | 28 | 1.73 | 2533.2 | 1.52 | 1.2306
-121.7 | 0 | 28 | 1.74 | 2551.5 | 1.66 | 1.3439
-120.5 | 0 | 28 | 1.73 | 2538.4 | 1.53 | 1.2387
-119.3 | 0 | 28 | 1.73 | 2540.7 | 1.61 | 1.3034
-118.1 | 0 | 28 | 1.71 | 2504.9 | 1.55 | 1.2549
-116.9 | 0 | 28 | 1.71 | 2509.6 | 1.63 | 1.3196
-115.7 | 0 | 28 | 1.69 | 2473.8 | 1.49 | 1.2063
-114.5 | 0 | 28 | 1.8 | 2631.3 | 1.67 | 1.352
-113.3 | 0 | 28 | 1.68 | 2465.4 | 1.58 | 1.2791
-112.1 | 0 | 28 | 1.67 | 2441 | 1.48 | 1.1982
-110.9 | 0 | 28 | 1.68 | 2456.4 | 1.54 | 1.2468
-109.6 | 0 | 28 | 1.71 | 2504.8 | 1.6 | 1.2953
-108.4 | 0 | 28 | 1.62 | 2373.4 | 1.45 | 1.1739
-107.2 | 0 | 28 | 1.6 | 2349.4 | 1.48 | 1.1982
-106 | 0 | 28 | 1.63 | 2381.6 | 1.52 | 1.2306
-104.9 | 0 | 28 | 1.58 | 2307.3 | 1.4 | 1.1334
-103.6 | 0 | 28 | 1.57 | 2299.4 | 1.45 | 1.1739
-102.4 | 0 | 28 | 1.6 | 2341.7 | 1.44 | 1.1658
-101.2 | 0 | 28 | 1.54 | 2249.7 | 1.36 | 1.101
-100 | 0 | 28 | 1.59 | 2329.3 | 1.46 | 1.182
-98.8 | 0 | 28 | 1.48 | 2166 | 1.33 | 1.0767
-97.6 | 0 | 28 | 1.42 | 2082.6 | 1.25 | 1.012
-96.4 | 0 | 28 | 1.42 | 2075.7 | 1.31 | 1.0606
-95.2 | 0 | 28 | 1.42 | 2079.8 | 1.29 | 1.0444
-94 | 0 | 28 | 1.42 | 2079.3 | 1.32 | 1.0687
-92.8 | 0 | 28 | 1.3 | 1906.7 | 1.19 | 0.96341
-91.6 | 0 | 28 | 1.22 | 1793.7 | 1.1 | 0.89054
-90.4 | 0 | 28 | 1.13 | 1651.3 | 1 | 0.80959
-89.2 | 0 | 28 | 1.07 | 1565.8 | 0.98 | 0.79339
-88 | 0 | 28 | 0.9 | 1319.6 | 0.81 | 0.65576
-86.8 | 0 | 28 | 0.8 | 1164.9 | 0.71 | 0.57481
-85.6 | 0 | 28 | 0.71 | 1046.1 | 0.65 | 0.52623
-84.4 | 0 | 28 | 0.67 | 978.5 | 0.63 | 0.51004
-83.2 | 0 | 28 | 0.44 | 650.2 | 0.4 | 0.32383
-82 | 0 | 28 | 0.24 | 345.7 | 0.21 | 0.17001
-80.8 | 0 | 28 | 0.01 | 15.2 | 0.01 | 0.0080959
-79.6 | 0 | 28 | 0.21 | 307.1 | 0.19 | 0.15382
-78.4 | 0 | 28 | 0.54 | 787.5 | 0.49 | 0.3967
-77.2 | 0 | 28 | 0.86 | 1255 | 0.77 | 0.62338
-76 | 0 | 28 | 1.27 | 1860.9 | 1.15 | 0.93102
-74.8 | 0 | 28 | 1.74 | 2554.7 | 1.59 | 1.2872
-73.6 | 0 | 28 | 2.33 | 3418.8 | 2.15 | 1.7406
-72.4 | 0 | 28 | 3.01 | 4415.3 | 2.74 | 2.2183
-71.2 | 0 | 28 | 3.69 | 5404.3 | 3.39 | 2.7445
-70 | 0 | 28 | 4.73 | 6928.3 | 4.34 | 3.5136
-68.8 | 0 | 28 | 5.76 | 8443.7 | 5.29 | 4.2827
-67.6 | 0 | 28 | 7.23 | 10583.4 | 6.61 | 5.3514
-66.4 | 0 | 28 | 8.86 | 12980.4 | 8.12 | 6.5738
-65.2 | 0 | 28 | 10.97 | 16075.8 | 9.97 | 8.0716
-63.9 | 0 | 28 | 13.35 | 19553 | 12.15 | 9.8365
-62.8 | 0 | 28 | 16.1 | 23577.8 | 14.68 | 11.8847
-61.5 | 0 | 28 | 20.37 | 29837.9 | 18.21 | 14.7426
-60.3 | 0 | 28 | 24.25 | 35515.2 | 22.12 | 17.908
-59.1 | 0 | 28 | 29.9 | 43803.2 | 27 | 21.8588
-57.9 | 0 | 28 | 36.28 | 53146.8 | 32.75 | 26.5139
-56.7 | 0 | 28 | 43.08 | 63106.3 | 39.29 | 31.8086
-55.5 | 0 | 28 | 52.41 | 76767.7 | 46.75 | 37.8481
-54.3 | 0 | 28 | 58 | 84962.2 | 54.44 | 44.0738
-53.1 | 0 | 28 | 69.25 | 101444.7 | 62.91 | 50.931
-51.9 | 0 | 28 | 79.02 | 115743.6 | 71.06 | 57.5291
-50.7 | 0 | 28 | 86.8 | 127141.9 | 78.95 | 63.9168
-49.5 | 0 | 28 | 95.39 | 139734.3 | 86.22 | 69.8025
-48.3 | 0 | 28 | 100.92 | 147834.9 | 92.47 | 74.8624
-47.1 | 0 | 28 | 107.55 | 157547.6 | 98.13 | 79.4446
-45.9 | 0 | 28 | 112.24 | 164407.3 | 102.62 | 83.0797
-44.7 | 0 | 28 | 115.96 | 169859.7 | 106.14 | 85.9294
-43.5 | 0 | 28 | 119.52 | 175068.4 | 109.36 | 88.5363
-42.3 | 0 | 28 | 121.97 | 178662.5 | 111.54 | 90.3012
-41.1 | 0 | 28 | 124.96 | 183044 | 113.63 | 91.9932
-39.9 | 0 | 28 | 128.95 | 188887.2 | 115.3 | 93.3452
-38.7 | 0 | 28 | 126.97 | 185986.1 | 116.45 | 94.2762
-37.5 | 0 | 28 | 131.39 | 192459.4 | 117.6 | 95.2073
-36.3 | 0 | 28 | 131.67 | 192877.3 | 118.29 | 95.7659
-35.1 | 0 | 28 | 130.81 | 191611.9 | 119.08 | 96.4054
-33.9 | 0 | 28 | 126.7 | 185596.5 | 119.18 | 96.4864
-32.7 | 0 | 28 | 132.69 | 194362.4 | 120.21 | 97.3203
-31.5 | 0 | 28 | 135.43 | 198380.1 | 120.61 | 97.6441
-30.3 | 0 | 28 | 131.52 | 192648.6 | 120.76 | 97.7655
-29.1 | 0 | 28 | 133.63 | 195742.4 | 121.27 | 98.1784
-27.9 | 0 | 28 | 133.33 | 195301.7 | 121.35 | 98.2432
-26.7 | 0 | 28 | 132.89 | 194654.7 | 121.62 | 98.4618
-25.5 | 0 | 28 | 136.53 | 199995.8 | 122.07 | 98.8261
-24.3 | 0 | 28 | 133.36 | 195342.4 | 122.05 | 98.8099
-23.1 | 0 | 28 | 130.51 | 191170.9 | 122.13 | 98.8747
-21.9 | 0 | 28 | 134.22 | 196604.4 | 122.41 | 99.1014
-20.7 | 0 | 28 | 134.82 | 197493.1 | 122.8 | 99.4171
-19.5 | 0 | 28 | 134.3 | 196732 | 122.79 | 99.409
-18.3 | 0 | 28 | 135.67 | 198726.8 | 122.92 | 99.5142
-17 | 0 | 28 | 135.52 | 198509.6 | 122.81 | 99.4252
-15.8 | 0 | 28 | 136.51 | 199966.6 | 122.86 | 99.4657
-14.6 | 0 | 28 | 129.76 | 190072 | 123.01 | 99.5871
-13.4 | 0 | 28 | 137.47 | 201362.9 | 123.06 | 99.6276
-12.2 | 0 | 28 | 136.58 | 200059.9 | 122.97 | 99.5547
-11 | 0 | 28 | 130.46 | 191098 | 123.08 | 99.6438
-9.8 | 0 | 28 | 137.42 | 201295 | 123.23 | 99.7652
-8.6 | 0 | 28 | 137.13 | 200874.9 | 123.19 | 99.7328
-7.4 | 0 | 28 | 136.26 | 199592 | 123.32 | 99.8381
-6.2 | 0 | 28 | 137.02 | 200711.1 | 123.44 | 99.9352
-5 | 0 | 28 | 137.34 | 201171.9 | 123.13 | 99.6843
-3.8 | 0 | 28 | 130.05 | 190500.8 | 123.17 | 99.7166
-2.6 | 0 | 28 | 137.63 | 201597.9 | 123.46 | 99.9514
-1.4 | 0 | 28 | 136.49 | 199935.9 | 123.21 | 99.749
-0.2 | 0 | 28 | 136.8 | 200386.7 | 123.36 | 99.8705
1 | 0 | 28 | 136.64 | 200154.9 | 123.25 | 99.7814
2.2 | 0 | 28 | 135.82 | 198954.9 | 123.36 | 99.8705
3.4 | 0 | 28 | 135.96 | 199159.9 | 123.52 | 100
4.6 | 0 | 28 | 135.68 | 198749.5 | 123.37 | 99.8786
5.8 | 0 | 28 | 135.01 | 197769.5 | 123.37 | 99.8786
7 | 0 | 28 | 135.8 | 198923.4 | 123.37 | 99.8786
8.2 | 0 | 28 | 134.75 | 197379.3 | 123.23 | 99.7652
9.4 | 0 | 28 | 134.72 | 197337.5 | 123.17 | 99.7166
10.6 | 0 | 28 | 134.49 | 196997.1 | 123.27 | 99.7976
11.8 | 0 | 28 | 139.41 | 204215.9 | 123.14 | 99.6924
13 | 0 | 28 | 133.72 | 195882.7 | 122.8 | 99.4171
14.2 | 0 | 28 | 127.98 | 187471.3 | 122.66 | 99.3038
15.4 | 0 | 28 | 139.75 | 204704.5 | 122.98 | 99.5628
16.6 | 0 | 28 | 133.45 | 195479.2 | 122.59 | 99.2471
17.8 | 0 | 28 | 127.96 | 187434.1 | 122.56 | 99.2228
19 | 0 | 28 | 139.58 | 204460 | 122.81 | 99.4252
20.2 | 0 | 28 | 132.73 | 194429.6 | 122.25 | 98.9718
21.4 | 0 | 28 | 131.15 | 192112.8 | 122.31 | 99.0204
22.6 | 0 | 28 | 133.38 | 195381 | 122.13 | 98.8747
23.8 | 0 | 28 | 132.62 | 194262.1 | 121.79 | 98.5994
25 | 0 | 28 | 128.1 | 187643.9 | 121.56 | 98.4132
26.2 | 0 | 28 | 136.81 | 200405.7 | 121.43 | 98.308
27.4 | 0 | 28 | 127.93 | 187396.9 | 120.77 | 97.7736
28.6 | 0 | 28 | 131.63 | 192811.3 | 120.81 | 97.806
29.8 | 0 | 28 | 135.84 | 198979.3 | 120.51 | 97.5631
31 | 0 | 28 | 130.28 | 190834.3 | 119.79 | 96.9802
32.2 | 0 | 28 | 125.7 | 184131.4 | 119.02 | 96.3569
33.4 | 0 | 28 | 133.01 | 194831.8 | 118.55 | 95.9764
34.6 | 0 | 28 | 129.35 | 189476.7 | 117.55 | 95.1668
35.8 | 0 | 28 | 123.04 | 180229.1 | 116.33 | 94.1791
37 | 0 | 28 | 128.87 | 188770.2 | 115.21 | 93.2723
38.2 | 0 | 28 | 120.54 | 176573.1 | 113.27 | 91.7017
39.4 | 0 | 28 | 120.95 | 177175.5 | 111.89 | 90.5845
40.6 | 0 | 28 | 123.67 | 181155.8 | 109.43 | 88.5929
41.8 | 0 | 28 | 112.19 | 164335.3 | 106.03 | 85.8403
43 | 0 | 28 | 112.45 | 164723.3 | 102.69 | 83.1363
44.2 | 0 | 28 | 107.69 | 157750.8 | 97.82 | 79.1937
45.4 | 0 | 28 | 102.23 | 149752.8 | 92.56 | 74.9352
46.7 | 0 | 28 | 94.94 | 139073.2 | 86.45 | 69.9887
47.9 | 0 | 28 | 87.18 | 127706.4 | 79.47 | 64.3378
49 | 0 | 28 | 79.03 | 115758.9 | 71.64 | 57.9987
50.3 | 0 | 28 | 70.06 | 102621.9 | 63.5 | 51.4087
51.5 | 0 | 28 | 61.22 | 89682 | 55.27 | 44.7458
52.7 | 0 | 28 | 51.94 | 76086.8 | 47 | 38.0505
53.9 | 0 | 28 | 44.1 | 64595 | 39.68 | 32.1244
55.1 | 0 | 28 | 36.25 | 53099.6 | 32.75 | 26.5139
56.3 | 0 | 28 | 29.9 | 43795.1 | 26.91 | 21.7859
57.5 | 0 | 28 | 24.34 | 35657.7 | 21.93 | 17.7542
58.7 | 0 | 28 | 19.78 | 28970.7 | 17.84 | 14.443
59.9 | 0 | 28 | 16.01 | 23455.8 | 14.45 | 11.6985
61.1 | 0 | 28 | 12.25 | 17948 | 11.57 | 9.3669
62.3 | 0 | 28 | 10.65 | 15602.3 | 9.59 | 7.7639
63.5 | 0 | 28 | 8.69 | 12735.1 | 7.79 | 6.3067
64.7 | 0 | 28 | 6.54 | 9573.4 | 6.22 | 5.0356
65.9 | 0 | 28 | 5.73 | 8387 | 5.15 | 4.1694
67.1 | 0 | 28 | 4.58 | 6711.7 | 4.14 | 3.3517
68.3 | 0 | 28 | 3.7 | 5420.7 | 3.35 | 2.7121
69.5 | 0 | 28 | 3 | 4394.6 | 2.71 | 2.194
70.7 | 0 | 28 | 2.32 | 3398 | 2.11 | 1.7082
71.9 | 0 | 28 | 1.85 | 2708.1 | 1.68 | 1.3601
73.1 | 0 | 28 | 1.34 | 1956.5 | 1.22 | 0.98769
74.3 | 0 | 28 | 0.95 | 1385.7 | 0.86 | 0.69624
75.5 | 0 | 28 | 0.71 | 1040.4 | 0.65 | 0.52623
76.7 | 0 | 28 | 0.36 | 521.2 | 0.33 | 0.26716
77.9 | 0 | 28 | 0.02 | 33.1 | 0.02 | 0.016192
79.1 | 0 | 28 | 0.11 | 158.2 | 0.1 | 0.080959
80.3 | 0 | 28 | 0.32 | 475.5 | 0.29 | 0.23478
81.5 | 0 | 28 | 0.53 | 778 | 0.49 | 0.3967
82.7 | 0 | 28 | 0.66 | 968.7 | 0.6 | 0.48575
84 | 0 | 28 | 0.77 | 1121.3 | 0.69 | 0.55861
85.2 | 0 | 28 | 1.01 | 1483.7 | 0.93 | 0.75291
86.3 | 0 | 28 | 1.08 | 1578.4 | 0.98 | 0.79339
87.6 | 0 | 28 | 1.12 | 1642.9 | 1 | 0.80959
88.8 | 0 | 28 | 1.25 | 1825.8 | 1.15 | 0.93102
90 | 0 | 28 | 1.36 | 1993.8 | 1.24 | 1.0039
91.2 | 0 | 28 | 1.4 | 2047.8 | 1.24 | 1.0039
92.4 | 0 | 28 | 1.5 | 2197.4 | 1.39 | 1.1253
93.6 | 0 | 28 | 1.51 | 2215.4 | 1.35 | 1.0929
94.8 | 0 | 28 | 1.59 | 2323.3 | 1.41 | 1.1415
96 | 0 | 28 | 1.58 | 2309 | 1.45 | 1.1739
97.2 | 0 | 28 | 1.67 | 2445.3 | 1.49 | 1.2063
98.4 | 0 | 28 | 1.68 | 2454.9 | 1.49 | 1.2063
99.6 | 0 | 28 | 1.7 | 2486.5 | 1.55 | 1.2549
100.8 | 0 | 28 | 1.72 | 2526.8 | 1.64 | 1.3277
102 | 0 | 28 | 1.72 | 2516.9 | 1.51 | 1.2225
103.2 | 0 | 28 | 1.74 | 2552.4 | 1.61 | 1.3034
104.4 | 0 | 28 | 1.78 | 2601.1 | 1.68 | 1.3601
105.6 | 0 | 28 | 1.75 | 2556.5 | 1.53 | 1.2387
106.8 | 0 | 28 | 1.8 | 2636 | 1.68 | 1.3601
108 | 0 | 28 | 1.79 | 2628.3 | 1.63 | 1.3196
109.2 | 0 | 28 | 1.77 | 2592.7 | 1.55 | 1.2549
110.4 | 0 | 28 | 1.81 | 2647.1 | 1.71 | 1.3844
111.6 | 0 | 28 | 1.84 | 2689.2 | 1.67 | 1.352
112.8 | 0 | 28 | 1.84 | 2696.7 | 1.63 | 1.3196
114 | 0 | 28 | 1.82 | 2659.2 | 1.73 | 1.4006
115.2 | 0 | 28 | 1.86 | 2719.4 | 1.7 | 1.3763
116.4 | 0 | 28 | 1.79 | 2623.8 | 1.57 | 1.271
117.6 | 0 | 28 | 1.9 | 2778.8 | 1.8 | 1.4573
118.8 | 0 | 28 | 1.88 | 2750.3 | 1.71 | 1.3844
120 | 0 | 28 | 1.83 | 2683.6 | 1.6 | 1.2953
121.3 | 0 | 28 | 1.85 | 2713.4 | 1.77 | 1.433
122.4 | 0 | 28 | 1.85 | 2703.6 | 1.68 | 1.3601
123.6 | 0 | 28 | 1.84 | 2693.1 | 1.61 | 1.3034
124.9 | 0 | 28 | 1.97 | 2887.6 | 1.89 | 1.5301
126 | 0 | 28 | 1.89 | 2773.6 | 1.71 | 1.3844
127.2 | 0 | 28 | 1.89 | 2762.5 | 1.64 | 1.3277
128.4 | 0 | 28 | 1.9 | 2779.7 | 1.78 | 1.4411
129.7 | 0 | 28 | 1.91 | 2802.2 | 1.72 | 1.3925
130.8 | 0 | 28 | 1.93 | 2833.1 | 1.76 | 1.4249
132.1 | 0 | 28 | 1.92 | 2808.4 | 1.8 | 1.4573
133.3 | 0 | 28 | 1.96 | 2877.7 | 1.77 | 1.433
134.5 | 0 | 28 | 1.96 | 2864.8 | 1.7 | 1.3763
135.7 | 0 | 28 | 1.96 | 2865 | 1.84 | 1.4896
136.9 | 0 | 28 | 1.94 | 2849 | 1.75 | 1.4168
138.1 | 0 | 28 | 1.86 | 2721.4 | 1.62 | 1.3115
139.3 | 0 | 28 | 1.96 | 2877.7 | 1.84 | 1.4896
140.5 | 0 | 28 | 1.96 | 2867.1 | 1.85 | 1.4977
141.7 | 0 | 28 | 1.91 | 2802.6 | 1.65 | 1.3358
142.9 | 0 | 28 | 2.01 | 2942.1 | 1.91 | 1.5463
144.1 | 0 | 28 | 1.91 | 2799.4 | 1.74 | 1.4087
145.3 | 0 | 28 | 1.92 | 2817.3 | 1.68 | 1.3601
146.5 | 0 | 28 | 2.01 | 2937.9 | 1.92 | 1.5544
147.7 | 0 | 28 | 1.95 | 2861.5 | 1.78 | 1.4411
148.9 | 0 | 28 | 2.02 | 2958.4 | 1.78 | 1.4411
150.1 | 0 | 28 | 1.97 | 2880.6 | 1.81 | 1.4653
151.4 | 0 | 28 | 1.99 | 2922.2 | 1.84 | 1.4896