## Feuil1
Clinac 2
Measurement time: | 12/08/2022 18:00:16
Radiation device: | Clinac2 Accelerator
Energy: | 6 MV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Beam
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio | RTM | Rendement | RTM normalisé
0 | 0 | 310 | 19.24 | 47561.7 | 20.48 | 1.5447 | 19.0911 | 1.4904
0 | 0 | 309.1 | 20.74 | 51265.8 | 20.6 | 1.5606 | 20.5795 | 1.5057
0 | 0 | 307.6 | 20.83 | 51504.6 | 20.67 | 1.5774 | 20.6688 | 1.522
0 | 0 | 306.6 | 21.02 | 51974.8 | 20.89 | 1.6021 | 20.8573 | 1.5458
0 | 0 | 305.3 | 21.15 | 52292.6 | 21.01 | 1.6216 | 20.9863 | 1.5646
0 | 0 | 304.1 | 21.35 | 52782.9 | 21.19 | 1.6452 | 21.1848 | 1.5874
0 | 0 | 302.9 | 21.46 | 53066 | 21.33 | 1.666 | 21.2939 | 1.6075
0 | 0 | 301.7 | 21.62 | 53451.6 | 21.46 | 1.6862 | 21.4527 | 1.6269
0 | 0 | 300.5 | 21.73 | 53713.5 | 21.55 | 1.7034 | 21.5618 | 1.6436
0 | 0 | 299.3 | 21.83 | 53983.6 | 21.68 | 1.724 | 21.661 | 1.6634
0 | 0 | 298.1 | 22.08 | 54597.4 | 21.97 | 1.7576 | 21.9091 | 1.6959
0 | 0 | 296.9 | 22.18 | 54836.5 | 22.02 | 1.7723 | 22.0083 | 1.71
0 | 0 | 295.7 | 22.34 | 55238 | 22.21 | 1.7984 | 22.1671 | 1.7352
0 | 0 | 294.5 | 22.52 | 55683.7 | 22.35 | 1.8208 | 22.3457 | 1.7568
0 | 0 | 293.3 | 22.64 | 55983.6 | 22.46 | 1.8409 | 22.4648 | 1.7763
0 | 0 | 292.1 | 22.78 | 56332 | 22.67 | 1.8695 | 22.6037 | 1.8039
0 | 0 | 290.9 | 22.95 | 56744.8 | 22.82 | 1.8935 | 22.7724 | 1.827
0 | 0 | 289.7 | 23.07 | 57049 | 22.94 | 1.9152 | 22.8914 | 1.8479
0 | 0 | 288.5 | 23.29 | 57574 | 23.13 | 1.943 | 23.1097 | 1.8747
0 | 0 | 287.3 | 23.45 | 57968 | 23.31 | 1.9703 | 23.2685 | 1.901
0 | 0 | 286.1 | 23.53 | 58174.1 | 23.42 | 1.9919 | 23.3479 | 1.9219
0 | 0 | 284.9 | 23.7 | 58600 | 23.54 | 2.0146 | 23.5166 | 1.9438
0 | 0 | 283.7 | 23.93 | 59151.6 | 23.76 | 2.0462 | 23.7448 | 1.9743
0 | 0 | 282.5 | 24.01 | 59365.5 | 23.88 | 2.0694 | 23.8242 | 1.9967
0 | 0 | 281.2 | 24.25 | 59960.5 | 24.07 | 2.1001 | 24.0623 | 2.0264
0 | 0 | 280.1 | 24.39 | 60289 | 24.23 | 2.1263 | 24.2012 | 2.0516
0 | 0 | 278.8 | 24.46 | 60477.1 | 24.31 | 2.148 | 24.2707 | 2.0726
0 | 0 | 277.7 | 24.68 | 61005.5 | 24.5 | 2.1775 | 24.489 | 2.101
0 | 0 | 276.4 | 24.86 | 61469.1 | 24.72 | 2.2122 | 24.6676 | 2.1345
0 | 0 | 275.2 | 25.02 | 61854 | 24.83 | 2.2363 | 24.8264 | 2.1577
0 | 0 | 274 | 25.22 | 62360 | 25.07 | 2.2724 | 25.0248 | 2.1926
0 | 0 | 272.8 | 25.32 | 62610.7 | 25.19 | 2.298 | 25.124 | 2.2173
0 | 0 | 271.6 | 25.54 | 63143.9 | 25.37 | 2.3294 | 25.3423 | 2.2476
0 | 0 | 270.4 | 25.66 | 63445.9 | 25.55 | 2.3612 | 25.4614 | 2.2782
0 | 0 | 269.2 | 25.84 | 63885.9 | 25.73 | 2.3933 | 25.64 | 2.3092
0 | 0 | 268 | 26.05 | 64400.7 | 25.89 | 2.4239 | 25.8484 | 2.3387
0 | 0 | 266.8 | 26.3 | 65024.5 | 26.08 | 2.4577 | 26.0964 | 2.3713
0 | 0 | 265.6 | 26.42 | 65327.7 | 26.21 | 2.4862 | 26.2155 | 2.3988
0 | 0 | 264.4 | 26.53 | 65584.6 | 26.36 | 2.5169 | 26.3247 | 2.4285
0 | 0 | 263.2 | 26.75 | 66146.4 | 26.61 | 2.5576 | 26.543 | 2.4677
0 | 0 | 262 | 26.97 | 66670.8 | 26.79 | 2.592 | 26.7613 | 2.5009
0 | 0 | 260.8 | 27.05 | 66881.8 | 26.88 | 2.618 | 26.8406 | 2.526
0 | 0 | 259.6 | 27.34 | 67602.7 | 27.15 | 2.662 | 27.1284 | 2.5685
0 | 0 | 258.4 | 27.47 | 67924.8 | 27.26 | 2.6907 | 27.2574 | 2.5962
0 | 0 | 257.2 | 27.65 | 68368.3 | 27.45 | 2.7277 | 27.436 | 2.6319
0 | 0 | 256 | 27.85 | 68849.4 | 27.69 | 2.7701 | 27.6345 | 2.6728
0 | 0 | 254.8 | 28.04 | 69317.7 | 27.86 | 2.806 | 27.823 | 2.7074
0 | 0 | 253.6 | 28.19 | 69703.5 | 28.04 | 2.8433 | 27.9718 | 2.7435
0 | 0 | 252.4 | 28.45 | 70348.8 | 28.25 | 2.8842 | 28.2298 | 2.7829
0 | 0 | 251.2 | 28.64 | 70815.2 | 28.46 | 2.9255 | 28.4183 | 2.8227
0 | 0 | 250 | 28.82 | 71244.8 | 28.62 | 2.9622 | 28.5969 | 2.8581
0 | 0 | 248.8 | 29.06 | 71852.1 | 28.86 | 3.0076 | 28.8351 | 2.9019
0 | 0 | 247.6 | 29.19 | 72175.6 | 29.03 | 3.0462 | 28.9641 | 2.9392
0 | 0 | 246.4 | 29.43 | 72757.2 | 29.3 | 3.0959 | 29.2022 | 2.9871
0 | 0 | 245.1 | 29.65 | 73312.1 | 29.45 | 3.1352 | 29.4205 | 3.0251
0 | 0 | 244 | 29.9 | 73917.3 | 29.71 | 3.1832 | 29.6686 | 3.0714
0 | 0 | 242.7 | 30.03 | 74247.9 | 29.82 | 3.2193 | 29.7976 | 3.1062
0 | 0 | 241.6 | 30.24 | 74771.8 | 30.06 | 3.2661 | 30.006 | 3.1514
0 | 0 | 240.3 | 30.32 | 74956.5 | 30.08 | 3.2933 | 30.0853 | 3.1776
0 | 0 | 239.1 | 30.57 | 75581.7 | 30.35 | 3.3464 | 30.3334 | 3.2288
0 | 0 | 237.9 | 30.83 | 76219.8 | 30.63 | 3.4013 | 30.5914 | 3.2818
0 | 0 | 236.7 | 31.01 | 76674 | 30.79 | 3.4435 | 30.77 | 3.3225
0 | 0 | 235.5 | 31.17 | 77051.9 | 30.99 | 3.4907 | 30.9288 | 3.3681
0 | 0 | 234.3 | 31.43 | 77707.8 | 31.23 | 3.543 | 31.1867 | 3.4186
0 | 0 | 233.1 | 31.52 | 77936.1 | 31.35 | 3.5823 | 31.276 | 3.4565
0 | 0 | 231.9 | 31.82 | 78671.4 | 31.59 | 3.6359 | 31.5737 | 3.5082
0 | 0 | 230.7 | 32.12 | 79421.2 | 31.9 | 3.6983 | 31.8714 | 3.5683
0 | 0 | 229.5 | 32.33 | 79929.1 | 32.1 | 3.7486 | 32.0798 | 3.6169
0 | 0 | 228.3 | 32.5 | 80362.2 | 32.32 | 3.8019 | 32.2485 | 3.6684
0 | 0 | 227.1 | 32.75 | 80967.7 | 32.54 | 3.856 | 32.4965 | 3.7205
0 | 0 | 225.9 | 32.97 | 81509.4 | 32.75 | 3.9095 | 32.7148 | 3.7721
0 | 0 | 224.7 | 33.21 | 82105.1 | 32.97 | 3.9649 | 32.953 | 3.8256
0 | 0 | 223.5 | 33.45 | 82702.7 | 33.24 | 4.0271 | 33.1911 | 3.8856
0 | 0 | 222.2 | 33.64 | 83165.5 | 33.38 | 4.0767 | 33.3796 | 3.9335
0 | 0 | 221 | 33.91 | 83846.6 | 33.69 | 4.1454 | 33.6475 | 3.9998
0 | 0 | 219.9 | 34.1 | 84313.7 | 33.85 | 4.1938 | 33.8361 | 4.0465
0 | 0 | 218.6 | 34.31 | 84814.5 | 34.1 | 4.2593 | 34.0445 | 4.1097
0 | 0 | 217.5 | 34.65 | 85665 | 34.4 | 4.3266 | 34.3818 | 4.1746
0 | 0 | 216.2 | 34.78 | 85995 | 34.58 | 4.3851 | 34.5108 | 4.231
0 | 0 | 215 | 35.02 | 86580.8 | 34.76 | 4.4416 | 34.749 | 4.2855
0 | 0 | 213.8 | 35.24 | 87132.5 | 34.98 | 4.5039 | 34.9673 | 4.3457
0 | 0 | 212.6 | 35.45 | 87656.8 | 35.26 | 4.5749 | 35.1756 | 4.4142
0 | 0 | 211.4 | 35.79 | 88497.1 | 35.59 | 4.6534 | 35.513 | 4.4899
0 | 0 | 210.2 | 35.96 | 88911.9 | 35.76 | 4.7118 | 35.6817 | 4.5463
0 | 0 | 209 | 36.22 | 89556.4 | 35.98 | 4.7777 | 35.9397 | 4.6099
0 | 0 | 207.8 | 36.44 | 90090.1 | 36.21 | 4.8458 | 36.158 | 4.6756
0 | 0 | 206.6 | 36.83 | 91054.7 | 36.49 | 4.9216 | 36.5449 | 4.7487
0 | 0 | 205.4 | 37 | 91482 | 36.81 | 5.0039 | 36.7136 | 4.8281
0 | 0 | 204.2 | 37.19 | 91958.6 | 36.95 | 5.0626 | 36.9022 | 4.8847
0 | 0 | 203 | 37.47 | 92627.4 | 37.21 | 5.1387 | 37.18 | 4.9581
0 | 0 | 201.8 | 37.77 | 93378.5 | 37.5 | 5.22 | 37.4777 | 5.0366
0 | 0 | 200.6 | 38.03 | 94030.3 | 37.81 | 5.3052 | 37.7357 | 5.1189
0 | 0 | 199.4 | 38.27 | 94618.1 | 38.03 | 5.379 | 37.9738 | 5.19
0 | 0 | 198.2 | 38.55 | 95320.8 | 38.28 | 5.458 | 38.2516 | 5.2662
0 | 0 | 197 | 38.79 | 95913.9 | 38.59 | 5.5468 | 38.4898 | 5.3519
0 | 0 | 195.8 | 39.1 | 96666.5 | 38.8 | 5.6223 | 38.7974 | 5.4247
0 | 0 | 194.6 | 39.25 | 97033 | 38.94 | 5.6886 | 38.9462 | 5.4888
0 | 0 | 193.4 | 39.64 | 98008.2 | 39.35 | 5.7956 | 39.3332 | 5.592
0 | 0 | 192.2 | 39.93 | 98723.7 | 39.68 | 5.8923 | 39.621 | 5.6853
0 | 0 | 191 | 40.15 | 99276.6 | 39.92 | 5.977 | 39.8393 | 5.767
0 | 0 | 189.8 | 40.52 | 100176.2 | 40.22 | 6.0719 | 40.2064 | 5.8585
0 | 0 | 188.5 | 40.73 | 100696.1 | 40.48 | 6.1663 | 40.4148 | 5.9497
0 | 0 | 187.4 | 41.03 | 101429 | 40.76 | 6.2566 | 40.7124 | 6.0368
0 | 0 | 186.1 | 41.28 | 102046.6 | 40.98 | 6.3477 | 40.9605 | 6.1246
0 | 0 | 184.9 | 41.5 | 102609.4 | 41.24 | 6.4418 | 41.1788 | 6.2155
0 | 0 | 183.7 | 41.87 | 103520.2 | 41.53 | 6.5421 | 41.5459 | 6.3123
0 | 0 | 182.5 | 42.14 | 104174.2 | 41.87 | 6.6519 | 41.8139 | 6.4182
0 | 0 | 181.3 | 42.38 | 104788.9 | 42.1 | 6.7456 | 42.052 | 6.5086
0 | 0 | 180.1 | 42.66 | 105475.2 | 42.38 | 6.8488 | 42.3298 | 6.6081
0 | 0 | 178.9 | 42.95 | 106175.7 | 42.69 | 6.9583 | 42.6176 | 6.7139
0 | 0 | 177.7 | 43.3 | 107043.9 | 43.02 | 7.0729 | 42.9649 | 6.8244
0 | 0 | 176.5 | 43.56 | 107694.7 | 43.3 | 7.1808 | 43.2229 | 6.9285
0 | 0 | 175.3 | 43.95 | 108666.8 | 43.64 | 7.3004 | 43.6098 | 7.044
0 | 0 | 174.1 | 44.18 | 109239.1 | 43.86 | 7.4016 | 43.8381 | 7.1416
0 | 0 | 172.9 | 44.42 | 109830.9 | 44.13 | 7.5128 | 44.0762 | 7.2489
0 | 0 | 171.7 | 44.82 | 110804.1 | 44.5 | 7.6429 | 44.4731 | 7.3744
0 | 0 | 170.5 | 45.09 | 111469.7 | 44.85 | 7.7715 | 44.741 | 7.4985
0 | 0 | 169.3 | 45.38 | 112194.3 | 45.07 | 7.8794 | 45.0288 | 7.6025
0 | 0 | 168.1 | 45.79 | 113207.6 | 45.41 | 8.01 | 45.4356 | 7.7286
0 | 0 | 166.9 | 46.02 | 113773.1 | 45.71 | 8.1356 | 45.6638 | 7.8498
0 | 0 | 165.7 | 46.26 | 114381.3 | 45.98 | 8.2578 | 45.902 | 7.9676
0 | 0 | 164.4 | 46.66 | 115368.9 | 46.4 | 8.4153 | 46.2989 | 8.1197
0 | 0 | 163.3 | 46.97 | 116120.2 | 46.7 | 8.5407 | 46.6065 | 8.2406
0 | 0 | 162 | 47.22 | 116749.8 | 46.99 | 8.6792 | 46.8545 | 8.3743
0 | 0 | 160.9 | 47.61 | 117715.4 | 47.29 | 8.8084 | 47.2415 | 8.499
0 | 0 | 159.6 | 47.99 | 118644.5 | 47.77 | 8.9872 | 47.6186 | 8.6714
0 | 0 | 158.4 | 48.28 | 119363.4 | 47.94 | 9.1031 | 47.9063 | 8.7833
0 | 0 | 157.2 | 48.55 | 120029.6 | 48.28 | 9.2534 | 48.1742 | 8.9283
0 | 0 | 156 | 48.92 | 120939.2 | 48.58 | 9.3984 | 48.5414 | 9.0682
0 | 0 | 154.8 | 49.25 | 121772.5 | 48.95 | 9.5594 | 48.8688 | 9.2236
0 | 0 | 153.6 | 49.62 | 122682.4 | 49.35 | 9.7289 | 49.236 | 9.3871
0 | 0 | 152.4 | 50.03 | 123703.9 | 49.6 | 9.8714 | 49.6428 | 9.5246
0 | 0 | 151.2 | 50.22 | 124168.6 | 49.91 | 10.0282 | 49.8313 | 9.6759
0 | 0 | 150 | 50.46 | 124759.1 | 50.18 | 10.1795 | 50.0695 | 9.8219
0 | 0 | 148.8 | 50.87 | 125765.6 | 50.56 | 10.3558 | 50.4763 | 9.992
0 | 0 | 147.6 | 51.25 | 126705.6 | 50.86 | 10.5185 | 50.8533 | 10.1489
0 | 0 | 146.4 | 51.59 | 127539 | 51.15 | 10.6817 | 51.1907 | 10.3064
0 | 0 | 145.2 | 51.97 | 128493.7 | 51.62 | 10.8856 | 51.5678 | 10.5032
0 | 0 | 144 | 52.33 | 129378.5 | 52.01 | 11.076 | 51.925 | 10.6869
0 | 0 | 142.8 | 52.72 | 130336.2 | 52.47 | 11.2847 | 52.312 | 10.8882
0 | 0 | 141.6 | 53.01 | 131055.7 | 52.71 | 11.4492 | 52.5997 | 11.047
0 | 0 | 140.4 | 53.4 | 132017.8 | 52.97 | 11.6208 | 52.9867 | 11.2126
0 | 0 | 139.2 | 53.66 | 132656.7 | 53.35 | 11.8219 | 53.2447 | 11.4066
0 | 0 | 138 | 54.05 | 133641 | 53.65 | 12.0086 | 53.6317 | 11.5867
0 | 0 | 136.8 | 54.43 | 134578.9 | 54.14 | 12.2414 | 54.0087 | 11.8113
0 | 0 | 135.6 | 54.75 | 135369.7 | 54.45 | 12.4372 | 54.3263 | 12.0003
0 | 0 | 134.4 | 55.14 | 136318.4 | 54.76 | 12.6364 | 54.7132 | 12.1925
0 | 0 | 133.2 | 55.49 | 137188.5 | 55.1 | 12.8461 | 55.0605 | 12.3948
0 | 0 | 131.9 | 55.85 | 138072 | 55.48 | 13.0801 | 55.4177 | 12.6206
0 | 0 | 130.8 | 56.25 | 139075.6 | 55.89 | 13.3027 | 55.8146 | 12.8353
0 | 0 | 129.6 | 56.71 | 140213 | 56.4 | 13.5648 | 56.2711 | 13.0882
0 | 0 | 128.3 | 57.02 | 140961.3 | 56.57 | 13.761 | 56.5787 | 13.2776
0 | 0 | 127.1 | 57.39 | 141899.8 | 56.96 | 14.0027 | 56.9458 | 13.5108
0 | 0 | 126 | 57.87 | 143076.8 | 57.42 | 14.2536 | 57.4221 | 13.7528
0 | 0 | 124.7 | 58.23 | 143964.5 | 57.84 | 14.5244 | 57.7793 | 14.0141
0 | 0 | 123.5 | 58.57 | 144802.3 | 58.19 | 14.7696 | 58.1167 | 14.2507
0 | 0 | 122.3 | 59.13 | 146193.7 | 58.73 | 15.0681 | 58.6724 | 14.5387
0 | 0 | 121.1 | 59.48 | 147066 | 59.09 | 15.3255 | 59.0196 | 14.787
0 | 0 | 119.9 | 59.85 | 147964.3 | 59.48 | 15.5954 | 59.3868 | 15.0475
0 | 0 | 118.7 | 60.24 | 148934.6 | 59.89 | 15.8757 | 59.7738 | 15.318
0 | 0 | 117.5 | 60.6 | 149836.2 | 60.29 | 16.1586 | 60.131 | 15.5909
0 | 0 | 116.3 | 60.88 | 150522.4 | 60.55 | 16.4088 | 60.4088 | 15.8324
0 | 0 | 115.1 | 61.27 | 151475.4 | 60.89 | 16.6856 | 60.7958 | 16.0994
0 | 0 | 113.9 | 61.79 | 152758.1 | 61.33 | 16.9953 | 61.3118 | 16.3982
0 | 0 | 112.7 | 62.09 | 153506.7 | 61.68 | 17.2857 | 61.6094 | 16.6784
0 | 0 | 111.5 | 62.54 | 154614.8 | 62.13 | 17.6099 | 62.056 | 16.9912
0 | 0 | 110.3 | 63.01 | 155792.1 | 62.56 | 17.9347 | 62.5223 | 17.3046
0 | 0 | 109.1 | 63.51 | 157019.6 | 63 | 18.2688 | 63.0185 | 17.6269
0 | 0 | 107.9 | 64.02 | 158289.7 | 63.56 | 18.6445 | 63.5245 | 17.9895
0 | 0 | 106.7 | 64.51 | 159496.6 | 63.84 | 18.9447 | 64.0107 | 18.2792
0 | 0 | 105.5 | 64.81 | 160233.8 | 64.36 | 19.3228 | 64.3084 | 18.6439
0 | 0 | 104.2 | 65.18 | 161158.2 | 64.88 | 19.7277 | 64.6755 | 19.0346
0 | 0 | 103.1 | 65.66 | 162345.9 | 65.19 | 20.0372 | 65.1518 | 19.3333
0 | 0 | 101.9 | 66.12 | 163470.3 | 65.63 | 20.413 | 65.6083 | 19.6958
0 | 0 | 100.7 | 66.56 | 164553.7 | 66.23 | 20.8467 | 66.0449 | 20.1143
0 | 0 | 99.5 | 66.8 | 165151.1 | 66.43 | 21.1619 | 66.283 | 20.4185
0 | 0 | 98.3 | 67.23 | 166216.7 | 66.84 | 21.551 | 66.7097 | 20.7939
0 | 0 | 97.1 | 67.74 | 167469.8 | 67.24 | 21.9448 | 67.2157 | 21.1738
0 | 0 | 95.8 | 68.06 | 168266.5 | 67.73 | 22.3992 | 67.5332 | 21.6123
0 | 0 | 94.7 | 68.39 | 169076.6 | 68.15 | 22.7935 | 67.8607 | 21.9927
0 | 0 | 93.5 | 68.97 | 170521.4 | 68.6 | 23.2295 | 68.4362 | 22.4133
0 | 0 | 92.2 | 69.61 | 172091.4 | 68.98 | 23.6752 | 69.0712 | 22.8434
0 | 0 | 91.1 | 69.94 | 172923.4 | 69.54 | 24.1429 | 69.3987 | 23.2947
0 | 0 | 89.8 | 70.5 | 174294.8 | 70.01 | 24.6402 | 69.9544 | 23.7745
0 | 0 | 88.6 | 71.05 | 175650.2 | 70.44 | 25.108 | 70.5001 | 24.2259
0 | 0 | 87.4 | 71.54 | 176880.2 | 71.06 | 25.6545 | 70.9863 | 24.7531
0 | 0 | 86.2 | 71.94 | 177867.6 | 71.55 | 26.1654 | 71.3832 | 25.2461
0 | 0 | 85 | 72.45 | 179111.9 | 71.91 | 26.6393 | 71.8893 | 25.7034
0 | 0 | 83.8 | 72.91 | 180252.2 | 72.35 | 27.1534 | 72.3457 | 26.1994
0 | 0 | 82.6 | 73.37 | 181404 | 72.9 | 27.7206 | 72.8021 | 26.7467
0 | 0 | 81.4 | 73.82 | 182515.6 | 73.36 | 28.2658 | 73.2487 | 27.2728
0 | 0 | 80.2 | 74.32 | 183742 | 73.79 | 28.8114 | 73.7448 | 27.7992
0 | 0 | 79 | 74.68 | 184629.3 | 74.18 | 29.3533 | 74.102 | 28.3221
0 | 0 | 77.8 | 75.26 | 186064.7 | 74.7 | 29.9595 | 74.6775 | 28.9069
0 | 0 | 76.6 | 75.69 | 187144.5 | 75.09 | 30.5265 | 75.1042 | 29.4541
0 | 0 | 75.4 | 75.94 | 187756.6 | 75.41 | 31.0775 | 75.3523 | 29.9857
0 | 0 | 74.1 | 76.42 | 188938 | 75.96 | 31.7734 | 75.8285 | 30.6571
0 | 0 | 73 | 76.9 | 190125.5 | 76.55 | 32.4287 | 76.3048 | 31.2894
0 | 0 | 71.7 | 77.54 | 191710 | 77.05 | 33.1367 | 76.9399 | 31.9725
0 | 0 | 70.5 | 78.1 | 193090.9 | 77.55 | 33.8228 | 77.4955 | 32.6345
0 | 0 | 69.3 | 78.72 | 194624 | 77.98 | 34.4942 | 78.1107 | 33.2823
0 | 0 | 68.1 | 79.04 | 195410 | 78.39 | 35.1724 | 78.4283 | 33.9367
0 | 0 | 66.9 | 79.59 | 196786.3 | 79.02 | 35.9667 | 78.974 | 34.7031
0 | 0 | 65.7 | 80.07 | 197953.7 | 79.48 | 36.702 | 79.4503 | 35.4125
0 | 0 | 64.5 | 80.58 | 199215.5 | 79.89 | 37.4315 | 79.9563 | 36.1164
0 | 0 | 63.3 | 81.05 | 200396.4 | 80.58 | 38.3117 | 80.4227 | 36.9657
0 | 0 | 62 | 81.7 | 201999.9 | 81.11 | 39.1851 | 81.0677 | 37.8084
0 | 0 | 60.9 | 82.02 | 202779.4 | 81.45 | 39.8892 | 81.3852 | 38.4878
0 | 0 | 59.6 | 82.47 | 203895.1 | 82.01 | 40.8205 | 81.8317 | 39.3863
0 | 0 | 58.5 | 83.17 | 205630.1 | 82.51 | 41.6414 | 82.5263 | 40.1784
0 | 0 | 57.2 | 83.78 | 207122.8 | 83.14 | 42.6562 | 83.1316 | 41.1575
0 | 0 | 56 | 84.05 | 207801.8 | 83.42 | 43.4608 | 83.3995 | 41.9339
0 | 0 | 54.8 | 84.53 | 208993.7 | 83.93 | 44.4071 | 83.8758 | 42.8469
0 | 0 | 53.6 | 84.95 | 210038.5 | 84.43 | 45.3723 | 84.2925 | 43.7783
0 | 0 | 52.4 | 85.63 | 211702.6 | 85.05 | 46.4281 | 84.9673 | 44.797
0 | 0 | 51.2 | 86.21 | 213142.3 | 85.4 | 47.3621 | 85.5428 | 45.6981
0 | 0 | 50 | 86.73 | 214435.1 | 86.13 | 48.5343 | 86.0587 | 46.8291
0 | 0 | 48.8 | 87.06 | 215249.2 | 86.55 | 49.5608 | 86.3862 | 47.8196
0 | 0 | 47.6 | 87.57 | 216492.8 | 86.98 | 50.6202 | 86.8922 | 48.8417
0 | 0 | 46.4 | 88.17 | 217993.2 | 87.38 | 51.69 | 87.4876 | 49.874
0 | 0 | 45.2 | 88.51 | 218825 | 87.97 | 52.9027 | 87.825 | 51.0441
0 | 0 | 44 | 89.08 | 220237.2 | 88.49 | 54.1061 | 88.3906 | 52.2052
0 | 0 | 42.8 | 89.42 | 221077.5 | 88.88 | 55.2617 | 88.7279 | 53.3202
0 | 0 | 41.6 | 89.98 | 222465.5 | 89.46 | 56.5691 | 89.2836 | 54.5817
0 | 0 | 40.4 | 90.66 | 224139.6 | 89.96 | 57.8618 | 89.9583 | 55.829
0 | 0 | 39.1 | 91.34 | 225820.5 | 90.54 | 59.3285 | 90.6331 | 57.2441
0 | 0 | 38 | 91.63 | 226542.2 | 90.99 | 60.5776 | 90.9208 | 58.4494
0 | 0 | 36.7 | 92.09 | 227684.5 | 91.53 | 62.1017 | 91.3773 | 59.9199
0 | 0 | 35.5 | 92.62 | 228982 | 91.93 | 63.4827 | 91.9032 | 61.2524
0 | 0 | 34.3 | 93.2 | 230429.1 | 92.41 | 64.9597 | 92.4787 | 62.6774
0 | 0 | 33.1 | 93.86 | 232066.6 | 93 | 66.5585 | 93.1336 | 64.2201
0 | 0 | 31.9 | 94.45 | 233507.6 | 93.77 | 68.3362 | 93.719 | 65.9354
0 | 0 | 30.7 | 94.91 | 234651 | 94.29 | 69.9828 | 94.1754 | 67.5241
0 | 0 | 29.5 | 95.33 | 235691.5 | 94.68 | 71.5806 | 94.5922 | 69.0658
0 | 0 | 28.3 | 95.98 | 237296.9 | 95.29 | 73.3957 | 95.2372 | 70.8171
0 | 0 | 27.1 | 96.25 | 237958.1 | 95.63 | 75.055 | 95.5051 | 72.4181
0 | 0 | 25.9 | 96.81 | 239336 | 96.15 | 76.9085 | 96.0607 | 74.2065
0 | 0 | 24.7 | 97.32 | 240618.6 | 96.6 | 78.7628 | 96.5668 | 75.9956
0 | 0 | 23.5 | 98.01 | 242304.1 | 97.24 | 80.8328 | 97.2514 | 77.993
0 | 0 | 22.3 | 98.33 | 243106.8 | 97.82 | 82.9185 | 97.569 | 80.0054
0 | 0 | 21.1 | 99 | 244773.2 | 98.39 | 85.0628 | 98.2338 | 82.0743
0 | 0 | 19.8 | 99.28 | 245457.3 | 98.79 | 87.2722 | 98.5116 | 84.2061
0 | 0 | 18.6 | 99.83 | 246816.3 | 99.35 | 89.552 | 99.0574 | 86.4058
0 | 0 | 17.4 | 99.99 | 247202.3 | 99.27 | 91.3185 | 99.2161 | 88.1102
0 | 0 | 16.2 | 100.74 | 249072.3 | 99.76 | 93.6744 | 99.9603 | 90.3834
0 | 0 | 15 | 100.58 | 248663 | 99.79 | 95.6683 | 99.8015 | 92.3072
0 | 0 | 13.8 | 100.78 | 249172.3 | 99.99 | 97.8924 | 100 | 94.4531
0 | 0 | 12.6 | 100.54 | 248559 | 100 | 100 | 99.7619 | 96.4867
0 | 0 | 11.4 | 100.04 | 247344.5 | 99.33 | 101.4815 | 99.2657 | 97.9162
0 | 0 | 10.2 | 99.02 | 244807.6 | 98.17 | 102.4926 | 98.2536 | 98.8917
0 | 0 | 9 | 97.79 | 241773.5 | 97.12 | 103.6412 | 97.0331 | 100
0 | 0 | 7.8 | 95.33 | 235679.2 | 94.65 | 103.2666 | 94.5922 | 99.6386
0 | 0 | 6.6 | 91.96 | 227360.3 | 91.27 | 101.8334 | 91.2483 | 98.2557
0 | 0 | 5.4 | 86.89 | 214830.9 | 86.3 | 98.4932 | 86.2175 | 95.0329
0 | 0 | 4.2 | 79.72 | 197103.6 | 79.19 | 92.4723 | 79.103 | 89.2235
0 | 0 | 3 | 69.42 | 171637.6 | 68.95 | 82.4018 | 68.8827 | 79.5068
0 | 0 | 1.7 | 59.81 | 147860.3 | 59.41 | 72.8273 | 59.3471 | 70.2687
0 | 0 | 0.6 | 54.3 | 134255.9 | 53.92 | 67.5508 | 53.8797 | 65.1776
0 | 0 | -0.5 | 50.98 | 126046.2 | 50.65 | 64.8649 | 50.5854 | 62.5861
Measurement time: | 12/08/2022 18:08:37
Radiation device: | Clinac2 Accelerator
Energy: | 23 MV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Beam
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio
0 | 0 | 310 | 33.1 | 81833.9 | 33.6 | 3.541
0 | 0 | 309.1 | 34.77 | 85965.8 | 33.86 | 3.5841
0 | 0 | 307.6 | 35.14 | 86867.2 | 34.19 | 3.6457
0 | 0 | 306.6 | 35.13 | 86861.2 | 34.24 | 3.6691
0 | 0 | 305.3 | 35.24 | 87125.6 | 34.33 | 3.7023
0 | 0 | 304.2 | 35.38 | 87477.2 | 34.52 | 3.7431
0 | 0 | 302.9 | 35.77 | 88431.4 | 34.67 | 3.7837
0 | 0 | 301.7 | 35.69 | 88236.2 | 34.83 | 3.8239
0 | 0 | 300.5 | 35.81 | 88538.9 | 35.03 | 3.8689
0 | 0 | 299.3 | 36.29 | 89714.5 | 35.26 | 3.9178
0 | 0 | 298.2 | 36.3 | 89741.2 | 35.37 | 3.9517
0 | 0 | 296.9 | 36.37 | 89909.5 | 35.49 | 3.9912
0 | 0 | 295.7 | 36.65 | 90610.7 | 35.73 | 4.0426
0 | 0 | 294.5 | 36.81 | 91002.6 | 35.89 | 4.0854
0 | 0 | 293.3 | 37.02 | 91532 | 36.11 | 4.1356
0 | 0 | 292.1 | 37.24 | 92073.8 | 36.22 | 4.1736
0 | 0 | 290.9 | 37.22 | 92019.1 | 36.38 | 4.2178
0 | 0 | 289.7 | 37.58 | 92909.5 | 36.55 | 4.2637
0 | 0 | 288.5 | 37.62 | 93011.1 | 36.73 | 4.3112
0 | 0 | 287.3 | 37.97 | 93882.8 | 36.92 | 4.3604
0 | 0 | 286.1 | 37.97 | 93884.1 | 37.04 | 4.4018
0 | 0 | 284.9 | 38.3 | 94692.1 | 37.31 | 4.4615
0 | 0 | 283.7 | 38.39 | 94907.2 | 37.48 | 4.51
0 | 0 | 282.5 | 38.67 | 95602.5 | 37.49 | 4.5395
0 | 0 | 281.3 | 38.79 | 95903.7 | 37.79 | 4.6047
0 | 0 | 280.1 | 39.1 | 96663.6 | 38.05 | 4.6657
0 | 0 | 278.9 | 39.2 | 96917.8 | 38.26 | 4.7212
0 | 0 | 277.7 | 39.33 | 97229.6 | 38.41 | 4.7699
0 | 0 | 276.5 | 39.57 | 97820.6 | 38.54 | 4.8166
0 | 0 | 275.2 | 39.79 | 98383.3 | 38.67 | 4.8664
0 | 0 | 274.1 | 39.92 | 98698.7 | 38.95 | 4.9305
0 | 0 | 272.8 | 40.23 | 99458.6 | 39.24 | 5.0019
0 | 0 | 271.6 | 40.47 | 100065.5 | 39.41 | 5.056
0 | 0 | 270.4 | 40.53 | 100198 | 39.53 | 5.1044
0 | 0 | 269.2 | 40.75 | 100740.1 | 39.78 | 5.1701
0 | 0 | 268 | 40.83 | 100949.8 | 39.95 | 5.2261
0 | 0 | 266.8 | 41.2 | 101872.6 | 40.18 | 5.2906
0 | 0 | 265.6 | 41.44 | 102466.2 | 40.27 | 5.3373
0 | 0 | 264.4 | 41.48 | 102555.3 | 40.55 | 5.4099
0 | 0 | 263.2 | 41.73 | 103173.7 | 40.79 | 5.478
0 | 0 | 262 | 41.8 | 103346.9 | 40.88 | 5.5265
0 | 0 | 260.8 | 42.34 | 104690.9 | 41.15 | 5.6001
0 | 0 | 259.6 | 42.28 | 104524.2 | 41.23 | 5.6485
0 | 0 | 258.4 | 42.52 | 105128.6 | 41.43 | 5.7139
0 | 0 | 257.2 | 42.7 | 105580.4 | 41.63 | 5.7802
0 | 0 | 256 | 42.91 | 106100.2 | 41.91 | 5.8583
0 | 0 | 254.8 | 43.13 | 106644.1 | 42.11 | 5.9262
0 | 0 | 253.6 | 43.35 | 107175.1 | 42.24 | 5.9849
0 | 0 | 252.4 | 43.66 | 107930.9 | 42.49 | 6.0614
0 | 0 | 251.2 | 43.79 | 108254.8 | 42.69 | 6.1316
0 | 0 | 250 | 44.01 | 108796.4 | 42.94 | 6.2099
0 | 0 | 248.8 | 44.22 | 109320.4 | 43.14 | 6.2818
0 | 0 | 247.6 | 44.34 | 109623.4 | 43.41 | 6.3648
0 | 0 | 246.4 | 44.62 | 110311.2 | 43.65 | 6.4444
0 | 0 | 245.2 | 45.02 | 111302.9 | 43.86 | 6.5205
0 | 0 | 244 | 45.16 | 111655.1 | 44.01 | 6.5886
0 | 0 | 242.7 | 45.19 | 111717 | 44.19 | 6.6658
0 | 0 | 241.6 | 45.55 | 112607.3 | 44.5 | 6.7559
0 | 0 | 240.4 | 45.78 | 113175.7 | 44.69 | 6.8326
0 | 0 | 239.1 | 46.12 | 114034.2 | 44.98 | 6.9298
0 | 0 | 238 | 46.3 | 114477.2 | 45.1 | 6.9936
0 | 0 | 236.7 | 46.45 | 114836.5 | 45.43 | 7.0993
0 | 0 | 235.5 | 46.76 | 115595.3 | 45.64 | 7.1832
0 | 0 | 234.3 | 46.96 | 116109.8 | 45.78 | 7.257
0 | 0 | 233.1 | 47.15 | 116568.6 | 45.89 | 7.327
0 | 0 | 231.9 | 47.3 | 116937.3 | 46.25 | 7.438
0 | 0 | 230.7 | 47.51 | 117469.4 | 46.53 | 7.5374
0 | 0 | 229.5 | 47.89 | 118410.4 | 46.69 | 7.6185
0 | 0 | 228.3 | 48.21 | 119182.8 | 47.01 | 7.7269
0 | 0 | 227.1 | 48.32 | 119459.3 | 47.15 | 7.8069
0 | 0 | 225.9 | 48.46 | 119810.1 | 47.28 | 7.8861
0 | 0 | 224.7 | 48.7 | 120409.2 | 47.73 | 8.0202
0 | 0 | 223.5 | 49.19 | 121612.5 | 48.03 | 8.1306
0 | 0 | 222.3 | 49.26 | 121778.5 | 48.13 | 8.2083
0 | 0 | 221.1 | 49.43 | 122205.7 | 48.38 | 8.3127
0 | 0 | 219.9 | 49.69 | 122855.5 | 48.69 | 8.4288
0 | 0 | 218.7 | 49.99 | 123599.2 | 48.83 | 8.5168
0 | 0 | 217.5 | 50.5 | 124851.1 | 49.18 | 8.6429
0 | 0 | 216.3 | 50.43 | 124683.7 | 49.35 | 8.7387
0 | 0 | 215.1 | 50.86 | 125741.9 | 49.67 | 8.8624
0 | 0 | 213.9 | 51.04 | 126201.1 | 49.76 | 8.9465
0 | 0 | 212.6 | 51.42 | 127121 | 50.07 | 9.0773
0 | 0 | 211.5 | 51.59 | 127555.2 | 50.47 | 9.2145
0 | 0 | 210.2 | 51.87 | 128241.4 | 50.55 | 9.3067
0 | 0 | 209 | 51.9 | 128327.1 | 50.86 | 9.4366
0 | 0 | 207.9 | 52.28 | 129256.6 | 50.93 | 9.5172
0 | 0 | 206.6 | 52.55 | 129922.6 | 51.35 | 9.6773
0 | 0 | 205.4 | 52.72 | 130336.3 | 51.58 | 9.7971
0 | 0 | 204.2 | 52.84 | 130634.9 | 51.9 | 9.9359
0 | 0 | 203 | 53.25 | 131647.5 | 52.15 | 10.0629
0 | 0 | 201.8 | 53.68 | 132719 | 52.34 | 10.1801
0 | 0 | 200.6 | 53.82 | 133070.9 | 52.63 | 10.3184
0 | 0 | 199.4 | 54.28 | 134208.1 | 52.99 | 10.4724
0 | 0 | 198.2 | 54.39 | 134472.9 | 53.13 | 10.5848
0 | 0 | 197 | 54.53 | 134812.3 | 53.31 | 10.7066
0 | 0 | 195.8 | 54.82 | 135523.3 | 53.4 | 10.8119
0 | 0 | 194.6 | 55.28 | 136675.6 | 53.86 | 10.994
0 | 0 | 193.4 | 55.44 | 137059.9 | 54.27 | 11.1685
0 | 0 | 192.2 | 55.94 | 138313.7 | 54.42 | 11.2916
0 | 0 | 191 | 55.89 | 138173 | 54.63 | 11.4288
0 | 0 | 189.8 | 56.37 | 139370.8 | 54.85 | 11.5701
0 | 0 | 188.5 | 56.54 | 139782.9 | 55.28 | 11.7661
0 | 0 | 187.4 | 56.76 | 140334.3 | 55.51 | 11.9057
0 | 0 | 186.2 | 57.11 | 141202.1 | 55.66 | 12.0382
0 | 0 | 185 | 57.36 | 141825.2 | 55.97 | 12.2074
0 | 0 | 183.8 | 57.51 | 142187.8 | 56.27 | 12.3768
0 | 0 | 182.6 | 57.95 | 143262.1 | 56.66 | 12.5686
0 | 0 | 181.4 | 58.36 | 144276.7 | 57 | 12.7521
0 | 0 | 180.1 | 58.67 | 145054.6 | 57.29 | 12.9363
0 | 0 | 178.9 | 58.77 | 145298.2 | 57.48 | 13.0911
0 | 0 | 177.8 | 59.17 | 146297.5 | 57.81 | 13.2707
0 | 0 | 176.5 | 59.38 | 146817.3 | 58.12 | 13.4676
0 | 0 | 175.3 | 59.84 | 147933.2 | 58.26 | 13.618
0 | 0 | 174.1 | 60.06 | 148496.6 | 58.65 | 13.8295
0 | 0 | 172.9 | 60.06 | 148491.9 | 58.88 | 14.0061
0 | 0 | 171.7 | 60.57 | 149746.6 | 59.32 | 14.2357
0 | 0 | 170.5 | 60.97 | 150738.4 | 59.52 | 14.4107
0 | 0 | 169.3 | 61.38 | 151744.6 | 59.9 | 14.6322
0 | 0 | 168.1 | 61.46 | 151941.3 | 60.12 | 14.8177
0 | 0 | 166.9 | 61.85 | 152921.9 | 60.38 | 15.0159
0 | 0 | 165.7 | 61.84 | 152889.6 | 60.61 | 15.2096
0 | 0 | 164.5 | 62.51 | 154552.7 | 60.86 | 15.4112
0 | 0 | 163.3 | 62.51 | 154555.2 | 61.28 | 15.6593
0 | 0 | 162.1 | 62.99 | 155721.9 | 61.58 | 15.8804
0 | 0 | 160.9 | 63.37 | 156677.2 | 61.78 | 16.0789
0 | 0 | 159.7 | 63.84 | 157839.8 | 62.2 | 16.3381
0 | 0 | 158.5 | 63.96 | 158125.9 | 62.42 | 16.5485
0 | 0 | 157.3 | 64.15 | 158597.7 | 62.75 | 16.7915
0 | 0 | 156.1 | 64.65 | 159834.5 | 63.14 | 17.0546
0 | 0 | 154.9 | 64.74 | 160059.3 | 63.38 | 17.281
0 | 0 | 153.6 | 65.28 | 161406 | 63.55 | 17.5054
0 | 0 | 152.4 | 65.49 | 161908.2 | 63.89 | 17.7668
0 | 0 | 151.3 | 65.75 | 162559.3 | 64.34 | 18.049
0 | 0 | 150 | 66.03 | 163240.5 | 64.61 | 18.3137
0 | 0 | 148.8 | 66.62 | 164701.8 | 65.13 | 18.6396
0 | 0 | 147.6 | 66.91 | 165421.5 | 65.34 | 18.8814
0 | 0 | 146.4 | 67.3 | 166391.9 | 65.69 | 19.1679
0 | 0 | 145.2 | 67.48 | 166823.8 | 66.01 | 19.4502
0 | 0 | 144 | 67.74 | 167478.5 | 66.09 | 19.6658
0 | 0 | 142.8 | 68.22 | 168672.6 | 66.45 | 19.9689
0 | 0 | 141.6 | 68.57 | 169526.7 | 66.87 | 20.2952
0 | 0 | 140.4 | 68.72 | 169893.8 | 67.4 | 20.6608
0 | 0 | 139.2 | 69.14 | 170932.3 | 67.53 | 20.9089
0 | 0 | 138 | 69.66 | 172223.8 | 67.83 | 21.2141
0 | 0 | 136.8 | 69.83 | 172652.2 | 68.15 | 21.5307
0 | 0 | 135.6 | 70.25 | 173688.4 | 68.49 | 21.8591
0 | 0 | 134.4 | 70.56 | 174440.5 | 69.08 | 22.2737
0 | 0 | 133.2 | 71.13 | 175854.2 | 69.38 | 22.6013
0 | 0 | 132 | 71.28 | 176236.4 | 69.61 | 22.9114
0 | 0 | 130.8 | 71.66 | 177173.7 | 70.09 | 23.3099
0 | 0 | 129.6 | 71.98 | 177967.1 | 70.42 | 23.6651
0 | 0 | 128.4 | 72.48 | 179197.9 | 70.78 | 24.0367
0 | 0 | 127.2 | 73.11 | 180757.5 | 71.13 | 24.4114
0 | 0 | 126 | 72.71 | 179764.5 | 71.32 | 24.7372
0 | 0 | 124.8 | 73.56 | 181862.9 | 71.68 | 25.1282
0 | 0 | 123.6 | 73.67 | 182138.4 | 72.07 | 25.5368
0 | 0 | 122.3 | 74.12 | 183260.5 | 72.59 | 26.0228
0 | 0 | 121.1 | 74.59 | 184417.5 | 72.88 | 26.4111
0 | 0 | 119.9 | 74.86 | 185087.5 | 73.09 | 26.7771
0 | 0 | 118.7 | 75.32 | 186226.4 | 73.51 | 27.2273
0 | 0 | 117.6 | 75.32 | 186214.2 | 73.74 | 27.5893
0 | 0 | 116.3 | 76.08 | 188090.1 | 74.31 | 28.1378
0 | 0 | 115.1 | 76.29 | 188617.7 | 74.61 | 28.5675
0 | 0 | 113.9 | 76.78 | 189822.8 | 74.99 | 29.0361
0 | 0 | 112.7 | 77.11 | 190648.5 | 75.32 | 29.4938
0 | 0 | 111.5 | 77.32 | 191166.2 | 75.6 | 29.9404
0 | 0 | 110.3 | 77.99 | 192828.2 | 75.93 | 30.4152
0 | 0 | 109.1 | 78.05 | 192974.6 | 76.55 | 31.0165
0 | 0 | 107.9 | 78.49 | 194044.7 | 76.75 | 31.4576
0 | 0 | 106.7 | 79.09 | 195531.7 | 77.14 | 31.9856
0 | 0 | 105.5 | 79.45 | 196422.9 | 77.31 | 32.4316
0 | 0 | 104.3 | 79.64 | 196899.2 | 77.78 | 33.0132
0 | 0 | 103.1 | 79.85 | 197410 | 78.43 | 33.6836
0 | 0 | 101.9 | 80.69 | 199491.6 | 78.52 | 34.1243
0 | 0 | 100.7 | 80.88 | 199964.6 | 79.08 | 34.7799
0 | 0 | 99.5 | 81.22 | 200802.8 | 79.39 | 35.3375
0 | 0 | 98.3 | 81.66 | 201899.7 | 79.8 | 35.9512
0 | 0 | 97.1 | 82.06 | 202874.7 | 80.12 | 36.5362
0 | 0 | 95.9 | 82.34 | 203578.6 | 80.47 | 37.1468
0 | 0 | 94.7 | 82.86 | 204863.3 | 81.08 | 37.8912
0 | 0 | 93.5 | 83.28 | 205906.9 | 81.37 | 38.4998
0 | 0 | 92.2 | 83.68 | 206889.1 | 82.04 | 39.3437
0 | 0 | 91.1 | 84.36 | 208557.7 | 82.21 | 39.8804
0 | 0 | 89.9 | 84.53 | 208986.4 | 82.73 | 40.6415
0 | 0 | 88.7 | 84.97 | 210064.3 | 82.89 | 41.2396
0 | 0 | 87.5 | 85.23 | 210707.1 | 83.32 | 41.9858
0 | 0 | 86.2 | 85.86 | 212269.2 | 83.93 | 42.8858
0 | 0 | 85.1 | 86.28 | 213309.7 | 84.21 | 43.5419
0 | 0 | 83.8 | 86.51 | 213875.1 | 84.55 | 44.3383
0 | 0 | 82.6 | 87.07 | 215264.3 | 85.1 | 45.2152
0 | 0 | 81.4 | 87.27 | 215761.8 | 85.35 | 45.95
0 | 0 | 80.2 | 87.72 | 216866.4 | 85.79 | 46.804
0 | 0 | 79 | 88.27 | 218232.7 | 86.04 | 47.5719
0 | 0 | 77.8 | 88.51 | 218832.3 | 86.46 | 48.4516
0 | 0 | 76.6 | 88.76 | 219437.7 | 86.88 | 49.3508
0 | 0 | 75.4 | 89.51 | 221307.9 | 87.31 | 50.276
0 | 0 | 74.2 | 89.81 | 222037 | 87.8 | 51.2571
0 | 0 | 73 | 90.55 | 223876.1 | 88.32 | 52.2785
0 | 0 | 71.8 | 90.45 | 223614.5 | 88.58 | 53.1674
0 | 0 | 70.5 | 91.08 | 225173 | 89.17 | 54.3408
0 | 0 | 69.3 | 91.66 | 226607.8 | 89.55 | 55.3487
0 | 0 | 68.1 | 91.97 | 227391.5 | 89.73 | 56.2546
0 | 0 | 66.9 | 92.47 | 228615.1 | 90.37 | 57.4735
0 | 0 | 65.7 | 92.99 | 229906.7 | 91.01 | 58.7219
0 | 0 | 64.5 | 93.38 | 230873.5 | 91.29 | 59.7651
0 | 0 | 63.3 | 93.72 | 231716.6 | 91.52 | 60.7995
0 | 0 | 62.1 | 94.17 | 232830 | 91.95 | 61.9929
0 | 0 | 60.9 | 94.7 | 234124.4 | 92.46 | 63.27
0 | 0 | 59.7 | 94.88 | 234581.7 | 92.85 | 64.4953
0 | 0 | 58.5 | 95.4 | 235855.4 | 93.28 | 65.7788
0 | 0 | 57.3 | 96.07 | 237512.2 | 93.54 | 66.9724
0 | 0 | 56.1 | 96.47 | 238510.3 | 94.11 | 68.4205
0 | 0 | 54.9 | 96.46 | 238493.9 | 94.7 | 69.9203
0 | 0 | 53.6 | 97.28 | 240511.1 | 94.85 | 71.2215
0 | 0 | 52.4 | 97.52 | 241096.7 | 95.35 | 72.7289
0 | 0 | 51.2 | 97.99 | 242256.7 | 95.91 | 74.3218
0 | 0 | 50 | 98.06 | 242449.4 | 96.14 | 75.6968
0 | 0 | 48.8 | 98.69 | 243986.8 | 96.36 | 77.0987
0 | 0 | 47.6 | 99.07 | 244945.8 | 96.78 | 78.699
0 | 0 | 46.4 | 99.32 | 245552.9 | 96.96 | 80.1432
0 | 0 | 45.2 | 99.71 | 246528.1 | 97.43 | 81.8683
0 | 0 | 44 | 100.15 | 247596.8 | 97.82 | 83.5716
0 | 0 | 42.8 | 100.36 | 248131.4 | 98.12 | 85.2427
0 | 0 | 41.6 | 100.88 | 249405.3 | 98.3 | 86.8527
0 | 0 | 40.4 | 101.24 | 250306.6 | 98.7 | 88.7032
0 | 0 | 39.2 | 100.95 | 249574.9 | 99.27 | 90.7602
0 | 0 | 38 | 101.5 | 250941.2 | 99.27 | 92.3455
0 | 0 | 36.8 | 102.1 | 252438.1 | 99.52 | 94.2094
0 | 0 | 35.5 | 101.93 | 252018.7 | 99.72 | 96.2188
0 | 0 | 34.3 | 102.32 | 252970.9 | 99.96 | 98.1817
0 | 0 | 33.1 | 102.06 | 252335.1 | 100 | 100
0 | 0 | 31.9 | 102.23 | 252756.5 | 99.91 | 101.7362
0 | 0 | 30.7 | 102.3 | 252930.6 | 99.7 | 103.3951
0 | 0 | 29.5 | 102.27 | 252848.2 | 99.79 | 105.4153
0 | 0 | 28.3 | 101.94 | 252031.8 | 99.74 | 107.3426
0 | 0 | 27.1 | 101.62 | 251250.9 | 99.46 | 109.072
0 | 0 | 25.9 | 101.66 | 251350.4 | 99.28 | 110.96
0 | 0 | 24.7 | 100.87 | 249397.5 | 98.66 | 112.3995
0 | 0 | 23.5 | 100.65 | 248854.2 | 98.45 | 114.3505
0 | 0 | 22.3 | 99.78 | 246694.8 | 97.51 | 115.4921
0 | 0 | 21 | 98.69 | 243992 | 96.83 | 117.1643
0 | 0 | 19.8 | 98.07 | 242464.2 | 95.77 | 118.2148
0 | 0 | 18.7 | 97 | 239813.6 | 94.61 | 118.9575
0 | 0 | 17.4 | 95.7 | 236611 | 93.43 | 120.0898
0 | 0 | 16.3 | 94 | 232402.7 | 91.95 | 120.4338
0 | 0 | 15 | 92.08 | 227646.9 | 90 | 120.5599
0 | 0 | 13.8 | 90.06 | 222648.8 | 87.87 | 120.2021
0 | 0 | 12.6 | 87.56 | 216481.9 | 85.42 | 119.3545
0 | 0 | 11.4 | 84.36 | 208571.4 | 82.84 | 118.2567
0 | 0 | 10.2 | 81.48 | 201459.3 | 79.5 | 115.9738
0 | 0 | 9 | 77.7 | 192105.4 | 75.86 | 113.1139
0 | 0 | 7.8 | 72.85 | 180115.4 | 71.02 | 108.2678
0 | 0 | 6.6 | 67.39 | 166609.8 | 65.82 | 102.6123
0 | 0 | 5.4 | 60.8 | 150329.2 | 59.23 | 94.4532
0 | 0 | 4.2 | 53.13 | 131355.7 | 51.76 | 84.453
0 | 0 | 3 | 44.31 | 109548.9 | 43.46 | 72.5724
0 | 0 | 1.8 | 37.36 | 92377 | 36.44 | 62.293
0 | 0 | 0.6 | 33.46 | 82728.8 | 32.77 | 57.3636
0 | 0 | -0.5 | 31.45 | 77754.3 | 30.64 | 54.8275