## Feuil1
Measurement time: | 02/09/2022 21:00:33
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio
-151.4 | 0 | 28 | 2 | 3947.6 | 2.32 | 2.3124
-150.7 | 0 | 28 | 1.28 | 2537.7 | 1.29 | 1.2858
-149.3 | 0 | 28 | 1.28 | 2536.5 | 1.26 | 1.2559
-148.2 | 0 | 28 | 1.27 | 2514.4 | 1.32 | 1.3157
-146.9 | 0 | 28 | 1.26 | 2490.6 | 1.25 | 1.2459
-145.7 | 0 | 28 | 1.25 | 2470.2 | 1.26 | 1.2559
-144.5 | 0 | 28 | 1.24 | 2452.9 | 1.24 | 1.2359
-143.3 | 0 | 28 | 1.26 | 2493 | 1.27 | 1.2658
-142.2 | 0 | 28 | 1.23 | 2435.5 | 1.22 | 1.216
-140.9 | 0 | 28 | 1.24 | 2442.1 | 1.22 | 1.216
-139.7 | 0 | 28 | 1.23 | 2433.4 | 1.22 | 1.216
-138.5 | 0 | 28 | 1.28 | 2536.1 | 1.27 | 1.2658
-137.3 | 0 | 28 | 1.24 | 2447.5 | 1.21 | 1.206
-136.1 | 0 | 28 | 1.27 | 2517.4 | 1.27 | 1.2658
-134.9 | 0 | 28 | 1.26 | 2491.4 | 1.25 | 1.2459
-133.7 | 0 | 28 | 1.26 | 2480.5 | 1.23 | 1.226
-132.5 | 0 | 28 | 1.28 | 2520.3 | 1.31 | 1.3057
-131.3 | 0 | 28 | 1.28 | 2529.4 | 1.27 | 1.2658
-130.1 | 0 | 28 | 1.29 | 2542.6 | 1.29 | 1.2858
-128.9 | 0 | 28 | 1.27 | 2517.7 | 1.27 | 1.2658
-127.7 | 0 | 28 | 1.32 | 2604.5 | 1.32 | 1.3157
-126.5 | 0 | 28 | 1.31 | 2586.2 | 1.31 | 1.3057
-125.3 | 0 | 28 | 1.3 | 2568.5 | 1.29 | 1.2858
-124.1 | 0 | 28 | 1.28 | 2523.9 | 1.27 | 1.2658
-122.9 | 0 | 28 | 1.31 | 2593.2 | 1.31 | 1.3057
-121.7 | 0 | 28 | 1.26 | 2485.7 | 1.22 | 1.216
-120.5 | 0 | 28 | 1.3 | 2559.6 | 1.28 | 1.2758
-119.3 | 0 | 28 | 1.34 | 2652.1 | 1.4 | 1.3954
-118.1 | 0 | 28 | 1.32 | 2600.3 | 1.28 | 1.2758
-116.9 | 0 | 28 | 1.26 | 2478.7 | 1.26 | 1.2559
-115.7 | 0 | 28 | 1.3 | 2560.9 | 1.32 | 1.3157
-114.5 | 0 | 28 | 1.26 | 2496.4 | 1.24 | 1.2359
-113.3 | 0 | 28 | 1.29 | 2553.5 | 1.32 | 1.3157
-112.1 | 0 | 28 | 1.24 | 2455 | 1.24 | 1.2359
-110.9 | 0 | 28 | 1.26 | 2481.5 | 1.25 | 1.2459
-109.7 | 0 | 28 | 1.25 | 2466 | 1.26 | 1.2559
-108.5 | 0 | 28 | 1.27 | 2511.7 | 1.29 | 1.2858
-107.3 | 0 | 28 | 1.23 | 2426.8 | 1.22 | 1.216
-106.1 | 0 | 28 | 1.26 | 2489.6 | 1.27 | 1.2658
-104.9 | 0 | 28 | 1.24 | 2449.3 | 1.24 | 1.2359
-103.7 | 0 | 28 | 1.17 | 2312.1 | 1.16 | 1.1562
-102.5 | 0 | 28 | 1.22 | 2402.6 | 1.23 | 1.226
-101.3 | 0 | 28 | 1.18 | 2333.9 | 1.18 | 1.1761
-100.1 | 0 | 28 | 1.17 | 2315.9 | 1.16 | 1.1562
-98.9 | 0 | 28 | 1.12 | 2217.6 | 1.13 | 1.1263
-97.7 | 0 | 28 | 1.1 | 2169.9 | 1.07 | 1.0665
-96.5 | 0 | 28 | 1.11 | 2190.4 | 1.08 | 1.0764
-95.3 | 0 | 28 | 1.1 | 2166.4 | 1.1 | 1.0964
-94.1 | 0 | 28 | 1.05 | 2069.9 | 1.04 | 1.0366
-92.9 | 0 | 28 | 1.03 | 2040 | 1.02 | 1.0166
-91.6 | 0 | 28 | 0.98 | 1936 | 0.99 | 0.98674
-90.5 | 0 | 28 | 0.9 | 1783.4 | 0.91 | 0.90701
-89.3 | 0 | 28 | 0.8 | 1572.1 | 0.78 | 0.77743
-88 | 0 | 28 | 0.74 | 1463.2 | 0.74 | 0.73757
-86.9 | 0 | 28 | 0.69 | 1357.1 | 0.69 | 0.68773
-85.6 | 0 | 28 | 0.47 | 925.3 | 0.45 | 0.44852
-84.5 | 0 | 28 | 0.44 | 874.9 | 0.45 | 0.44852
-83.2 | 0 | 28 | 0.32 | 639.8 | 0.32 | 0.31895
-82 | 0 | 28 | 0.2 | 395.4 | 0.2 | 0.19934
-80.8 | 0 | 28 | 0.03 | 63.6 | 0.03 | 0.029901
-79.6 | 0 | 28 | 0.2 | 387 | 0.19 | 0.18938
-78.4 | 0 | 28 | 0.46 | 901.6 | 0.44 | 0.43855
-77.2 | 0 | 28 | 0.62 | 1217.3 | 0.62 | 0.61796
-76 | 0 | 28 | 0.83 | 1639.2 | 0.86 | 0.85717
-74.8 | 0 | 28 | 1.47 | 2893.6 | 1.39 | 1.3854
-73.6 | 0 | 28 | 1.62 | 3190.9 | 1.67 | 1.6645
-72.4 | 0 | 28 | 2.28 | 4494.1 | 2.24 | 2.2326
-71.2 | 0 | 28 | 2.8 | 5523.5 | 2.78 | 2.7709
-70 | 0 | 28 | 3.38 | 6676.6 | 3.45 | 3.4387
-68.8 | 0 | 28 | 4.39 | 8669.3 | 4.31 | 4.2958
-67.6 | 0 | 28 | 5.79 | 11440.4 | 5.45 | 5.4321
-66.4 | 0 | 28 | 6.29 | 12419.3 | 6.45 | 6.4288
-65.2 | 0 | 28 | 8.04 | 15887.7 | 8 | 7.9737
-64 | 0 | 28 | 10.24 | 20222.7 | 9.88 | 9.8475
-62.8 | 0 | 28 | 11.93 | 23571.9 | 11.99 | 11.9506
-61.6 | 0 | 28 | 14.7 | 29025.1 | 14.78 | 14.7314
-60.4 | 0 | 28 | 17.96 | 35474.8 | 17.96 | 17.9009
-59.2 | 0 | 28 | 22.02 | 43497.3 | 22.02 | 21.9476
-58 | 0 | 28 | 25.09 | 49547.4 | 26.32 | 26.2334
-56.8 | 0 | 28 | 32.93 | 65035.8 | 31.68 | 31.5758
-55.6 | 0 | 28 | 35.98 | 71071.3 | 37.6 | 37.4763
-54.4 | 0 | 28 | 44.2 | 87294.8 | 44 | 43.8553
-53.2 | 0 | 28 | 53.74 | 106141.9 | 51.05 | 50.8821
-52 | 0 | 28 | 55.7 | 110011.8 | 57.45 | 57.261
-50.8 | 0 | 28 | 61.67 | 121810 | 63.66 | 63.4506
-49.6 | 0 | 28 | 73.57 | 145308.9 | 69.86 | 69.6302
-48.4 | 0 | 28 | 71.95 | 142108.4 | 74.64 | 74.3945
-47.2 | 0 | 28 | 79.56 | 157131.4 | 79.31 | 79.0491
-46 | 0 | 28 | 87.1 | 172030.6 | 83.52 | 83.2453
-44.8 | 0 | 28 | 82.44 | 162832.8 | 85.97 | 85.6872
-43.6 | 0 | 28 | 88.76 | 175306.8 | 88.6 | 88.3086
-42.4 | 0 | 28 | 95.22 | 188069.7 | 90.97 | 90.6708
-41.2 | 0 | 28 | 89.67 | 177110 | 92.03 | 91.7273
-39.9 | 0 | 28 | 94.1 | 185864.6 | 93.44 | 93.1327
-38.8 | 0 | 28 | 99.84 | 197193.2 | 94.71 | 94.3985
-37.6 | 0 | 28 | 93.17 | 184016.8 | 95.24 | 94.9267
-36.3 | 0 | 28 | 97.72 | 192999.5 | 96.2 | 95.8836
-35.2 | 0 | 28 | 97.06 | 191705.7 | 96.7 | 96.3819
-33.9 | 0 | 28 | 95.26 | 188151.2 | 97.06 | 96.7408
-32.7 | 0 | 28 | 97.23 | 192033.1 | 97.41 | 97.0896
-31.5 | 0 | 28 | 100.25 | 197998.1 | 97.9 | 97.578
-30.3 | 0 | 28 | 97.12 | 191826.3 | 98.01 | 97.6876
-29.1 | 0 | 28 | 96.49 | 190583.3 | 98.23 | 97.9069
-27.9 | 0 | 28 | 102.42 | 202284.4 | 98.7 | 98.3754
-26.7 | 0 | 28 | 96.81 | 191216.5 | 98.82 | 98.495
-25.5 | 0 | 28 | 99.75 | 197015.7 | 98.96 | 98.6345
-24.3 | 0 | 28 | 102.78 | 203006 | 99.29 | 98.9634
-23.1 | 0 | 28 | 97.72 | 193010.7 | 99.31 | 98.9834
-21.9 | 0 | 28 | 96.86 | 191307.4 | 99.3 | 98.9734
-20.7 | 0 | 28 | 102.83 | 203108.3 | 99.55 | 99.2226
-19.5 | 0 | 28 | 95.38 | 188390.8 | 99.37 | 99.0432
-18.3 | 0 | 28 | 101.47 | 200405.3 | 99.65 | 99.3222
-17.1 | 0 | 28 | 98.16 | 193869.4 | 99.72 | 99.392
-15.9 | 0 | 28 | 98.06 | 193667.6 | 99.54 | 99.2126
-14.7 | 0 | 28 | 101.41 | 200300.5 | 99.77 | 99.4418
-13.5 | 0 | 28 | 102.57 | 202594.6 | 99.97 | 99.6412
-12.3 | 0 | 28 | 96.45 | 190497.8 | 99.63 | 99.3023
-11.1 | 0 | 28 | 100.22 | 197950.7 | 99.7 | 99.3721
-9.9 | 0 | 28 | 103.24 | 203916.1 | 100.2 | 99.8704
-8.7 | 0 | 28 | 100.04 | 197593 | 100.2 | 99.8704
-7.5 | 0 | 28 | 100.1 | 197715.6 | 99.99 | 99.6611
-6.3 | 0 | 28 | 101.8 | 201070.4 | 100.27 | 99.9402
-5.1 | 0 | 28 | 99.59 | 196704.3 | 100.11 | 99.7807
-3.9 | 0 | 28 | 100.51 | 198520.3 | 100.08 | 99.7508
-2.7 | 0 | 28 | 102.38 | 202203.6 | 100.19 | 99.8605
-1.5 | 0 | 28 | 100.22 | 197943.8 | 100.07 | 99.7409
-0.3 | 0 | 28 | 102.32 | 202100.1 | 100.3 | 99.9701
0.9 | 0 | 28 | 97.65 | 192873.9 | 100.08 | 99.7508
2.2 | 0 | 28 | 101.23 | 199933.7 | 100.33 | 100
3.3 | 0 | 28 | 96.98 | 191540 | 100.02 | 99.691
4.5 | 0 | 28 | 101.31 | 200095.1 | 100.19 | 99.8605
5.7 | 0 | 28 | 99.66 | 196828.8 | 100.14 | 99.8106
6.9 | 0 | 28 | 99.71 | 196930.3 | 100.07 | 99.7409
8.2 | 0 | 28 | 100.54 | 198574.4 | 100.17 | 99.8405
9.3 | 0 | 28 | 100.47 | 198444.7 | 100.02 | 99.691
10.5 | 0 | 28 | 101.37 | 200206.3 | 100.12 | 99.7907
11.7 | 0 | 28 | 101.67 | 200801.7 | 100.01 | 99.6811
12.9 | 0 | 28 | 96.79 | 191170.7 | 99.66 | 99.3322
14.2 | 0 | 28 | 101.15 | 199787.1 | 99.73 | 99.402
15.3 | 0 | 28 | 101.58 | 200635 | 99.97 | 99.6412
16.6 | 0 | 28 | 101.2 | 199881.2 | 99.46 | 99.1329
17.7 | 0 | 28 | 94.99 | 187621.4 | 99.22 | 98.8937
19 | 0 | 28 | 99.9 | 197302.3 | 99.76 | 99.4319
20.2 | 0 | 28 | 98.13 | 193812.1 | 99.44 | 99.1129
21.3 | 0 | 28 | 97.21 | 192007.4 | 99.2 | 98.8737
22.6 | 0 | 28 | 101.92 | 201302.1 | 99.29 | 98.9634
23.8 | 0 | 28 | 97.53 | 192635.1 | 98.97 | 98.6445
25 | 0 | 28 | 98.63 | 194812 | 98.97 | 98.6445
26.2 | 0 | 28 | 100.32 | 198131.4 | 98.66 | 98.3355
27.4 | 0 | 28 | 98.83 | 195196.3 | 98.35 | 98.0265
28.6 | 0 | 28 | 99.28 | 196077.4 | 98.08 | 97.7574
29.8 | 0 | 28 | 99 | 195537.3 | 97.57 | 97.2491
31 | 0 | 28 | 94.7 | 187037.2 | 97.28 | 96.96
32.2 | 0 | 28 | 97.82 | 193204.4 | 96.9 | 96.5813
33.4 | 0 | 28 | 97.37 | 192309 | 96.23 | 95.9135
34.6 | 0 | 28 | 95.85 | 189318.8 | 95.52 | 95.2058
35.8 | 0 | 28 | 94.79 | 187220.6 | 94.5 | 94.1892
37 | 0 | 28 | 93.63 | 184937.4 | 93.56 | 93.2523
38.2 | 0 | 28 | 92.07 | 181843.6 | 92.34 | 92.0363
39.4 | 0 | 28 | 90.74 | 179218.9 | 90.84 | 90.5412
40.6 | 0 | 28 | 89.29 | 176347.4 | 88.66 | 88.3684
41.8 | 0 | 28 | 86.53 | 170913.3 | 86.23 | 85.9464
43 | 0 | 28 | 84.5 | 166897.5 | 83.3 | 83.026
44.2 | 0 | 28 | 81.65 | 161268.6 | 79.83 | 79.5674
45.4 | 0 | 28 | 72.78 | 143747.1 | 75.13 | 74.8829
46.6 | 0 | 28 | 71.46 | 141144.9 | 70.39 | 70.1585
47.8 | 0 | 28 | 65.55 | 129475.1 | 64.78 | 64.5669
49 | 0 | 28 | 57.96 | 114468.7 | 58.16 | 57.9687
50.2 | 0 | 28 | 51.77 | 102243.1 | 51.65 | 51.4801
51.4 | 0 | 28 | 44.55 | 87987.8 | 45.01 | 44.862
52.6 | 0 | 28 | 38.92 | 76861 | 38.61 | 38.483
53.8 | 0 | 28 | 32.18 | 63552.9 | 32.48 | 32.3732
55 | 0 | 28 | 27.5 | 54324.4 | 26.96 | 26.8713
56.2 | 0 | 28 | 21.95 | 43346 | 22.02 | 21.9476
57.4 | 0 | 28 | 17.66 | 34886.8 | 17.92 | 17.8611
58.6 | 0 | 28 | 14.9 | 29430.4 | 14.61 | 14.5619
59.8 | 0 | 28 | 12.03 | 23752 | 11.91 | 11.8708
61 | 0 | 28 | 9.62 | 18999.2 | 9.58 | 9.5485
62.2 | 0 | 28 | 7.75 | 15301.6 | 7.79 | 7.7644
63.4 | 0 | 28 | 6.52 | 12871.9 | 6.38 | 6.359
64.6 | 0 | 28 | 5.06 | 10002.3 | 5.15 | 5.1331
65.8 | 0 | 28 | 3.98 | 7863.7 | 4.15 | 4.1364
67.1 | 0 | 28 | 3.48 | 6878.7 | 3.44 | 3.4287
68.2 | 0 | 28 | 2.76 | 5460.2 | 2.74 | 2.731
69.5 | 0 | 28 | 2.25 | 4442 | 2.22 | 2.2127
70.7 | 0 | 28 | 1.77 | 3486.6 | 1.73 | 1.7243
71.9 | 0 | 28 | 1.2 | 2376.8 | 1.24 | 1.2359
73.1 | 0 | 28 | 1.03 | 2038.9 | 1.02 | 1.0166
74.3 | 0 | 28 | 0.73 | 1447.7 | 0.73 | 0.7276
75.5 | 0 | 28 | 0.49 | 970.1 | 0.49 | 0.48839
76.7 | 0 | 28 | 0.23 | 445.2 | 0.23 | 0.22924
77.9 | 0 | 28 | 0.11 | 215.9 | 0.11 | 0.10964
79.1 | 0 | 28 | 0.07 | 129.3 | 0.07 | 0.06977
80.3 | 0 | 28 | 0.24 | 470.5 | 0.24 | 0.23921
81.5 | 0 | 28 | 0.36 | 719.7 | 0.36 | 0.35882
82.7 | 0 | 28 | 0.46 | 899.3 | 0.45 | 0.44852
83.9 | 0 | 28 | 0.55 | 1093.1 | 0.54 | 0.53822
85.1 | 0 | 28 | 0.68 | 1349.7 | 0.68 | 0.67776
86.3 | 0 | 28 | 0.75 | 1483.4 | 0.77 | 0.76747
87.5 | 0 | 28 | 0.86 | 1698.4 | 0.85 | 0.8472
88.7 | 0 | 28 | 0.97 | 1908.1 | 0.97 | 0.96681
89.9 | 0 | 28 | 1.03 | 2033 | 1.04 | 1.0366
91.1 | 0 | 28 | 1.1 | 2180.2 | 1.11 | 1.1063
92.3 | 0 | 28 | 1.03 | 2039.3 | 1 | 0.99671
93.5 | 0 | 28 | 1.13 | 2236.7 | 1.17 | 1.1662
94.7 | 0 | 28 | 1.14 | 2250.3 | 1.12 | 1.1163
95.9 | 0 | 28 | 1.17 | 2304.3 | 1.15 | 1.1462
97.1 | 0 | 28 | 1.26 | 2484.6 | 1.29 | 1.2858
98.3 | 0 | 28 | 1.2 | 2379.8 | 1.19 | 1.1861
99.5 | 0 | 28 | 1.25 | 2477.6 | 1.24 | 1.2359
100.7 | 0 | 28 | 1.31 | 2596.3 | 1.37 | 1.3655
101.9 | 0 | 28 | 1.29 | 2549.9 | 1.29 | 1.2858
103.1 | 0 | 28 | 1.28 | 2520.2 | 1.23 | 1.226
104.3 | 0 | 28 | 1.3 | 2561.5 | 1.31 | 1.3057
105.5 | 0 | 28 | 1.35 | 2661.4 | 1.41 | 1.4054
106.7 | 0 | 28 | 1.34 | 2640.9 | 1.33 | 1.3256
107.9 | 0 | 28 | 1.31 | 2588.4 | 1.3 | 1.2957
109.1 | 0 | 28 | 1.33 | 2629.6 | 1.32 | 1.3157
110.3 | 0 | 28 | 1.34 | 2648.3 | 1.33 | 1.3256
111.5 | 0 | 28 | 1.36 | 2688.5 | 1.4 | 1.3954
112.7 | 0 | 28 | 1.33 | 2617.6 | 1.31 | 1.3057
113.9 | 0 | 28 | 1.37 | 2712.4 | 1.37 | 1.3655
115.1 | 0 | 28 | 1.35 | 2670.5 | 1.36 | 1.3555
116.3 | 0 | 28 | 1.38 | 2722.5 | 1.37 | 1.3655
117.5 | 0 | 28 | 1.37 | 2712.5 | 1.36 | 1.3555
118.8 | 0 | 28 | 1.35 | 2670.3 | 1.34 | 1.3356
119.9 | 0 | 28 | 1.37 | 2707.5 | 1.35 | 1.3456
121.1 | 0 | 28 | 1.39 | 2740.3 | 1.37 | 1.3655
122.3 | 0 | 28 | 1.37 | 2699.9 | 1.4 | 1.3954
123.5 | 0 | 28 | 1.35 | 2675.7 | 1.36 | 1.3555
124.7 | 0 | 28 | 1.4 | 2758.6 | 1.35 | 1.3456
126 | 0 | 28 | 1.38 | 2727 | 1.42 | 1.4153
127.1 | 0 | 28 | 1.37 | 2704.1 | 1.36 | 1.3555
128.3 | 0 | 28 | 1.4 | 2768.4 | 1.4 | 1.3954
129.5 | 0 | 28 | 1.4 | 2767 | 1.41 | 1.4054
130.7 | 0 | 28 | 1.38 | 2719.2 | 1.37 | 1.3655
132 | 0 | 28 | 1.44 | 2853.9 | 1.44 | 1.4353
133.2 | 0 | 28 | 1.43 | 2820.8 | 1.41 | 1.4054
134.4 | 0 | 28 | 1.46 | 2879.6 | 1.49 | 1.4851
135.6 | 0 | 28 | 1.42 | 2795 | 1.41 | 1.4054
136.8 | 0 | 28 | 1.44 | 2846.5 | 1.45 | 1.4452
138 | 0 | 28 | 1.43 | 2815.1 | 1.44 | 1.4353
139.2 | 0 | 28 | 1.45 | 2870.3 | 1.43 | 1.4253
140.4 | 0 | 28 | 1.44 | 2841.8 | 1.43 | 1.4253
141.6 | 0 | 28 | 1.44 | 2840.2 | 1.43 | 1.4253
142.8 | 0 | 28 | 1.47 | 2912 | 1.48 | 1.4751
144 | 0 | 28 | 1.44 | 2851.5 | 1.43 | 1.4253
145.2 | 0 | 28 | 1.44 | 2838.4 | 1.43 | 1.4253
146.4 | 0 | 28 | 1.45 | 2856.8 | 1.44 | 1.4353
147.6 | 0 | 28 | 1.41 | 2787.9 | 1.38 | 1.3755
148.8 | 0 | 28 | 1.38 | 2726.1 | 1.44 | 1.4353
150 | 0 | 28 | 1.4 | 2759 | 1.39 | 1.3854
151.4 | 0 | 28 | 1.46 | 2888.1 | 1.47 | 1.4652
Measurement time: | 02/09/2022 21:04:31
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio
151.4 | 0 | 28 | 0.69 | 1372.4 | 0.55 | 0.54672
150.4 | 0 | 28 | 1.51 | 2990.8 | 1.52 | 1.5109
148.6 | 0 | 28 | 1.51 | 2989.7 | 1.5 | 1.4911
147.2 | 0 | 28 | 1.4 | 2764.8 | 1.18 | 1.173
146 | 0 | 28 | 1.52 | 3006.5 | 1.81 | 1.7992
144.9 | 0 | 28 | 1.44 | 2850.3 | 1.42 | 1.4115
143.9 | 0 | 28 | 1.47 | 2907.6 | 1.41 | 1.4016
142.6 | 0 | 28 | 1.48 | 2916.6 | 1.54 | 1.5308
141.4 | 0 | 28 | 1.45 | 2872.2 | 1.27 | 1.2624
140.1 | 0 | 28 | 1.52 | 2993.8 | 1.73 | 1.7197
138.9 | 0 | 28 | 1.46 | 2885.1 | 1.41 | 1.4016
137.7 | 0 | 28 | 1.47 | 2897.8 | 1.42 | 1.4115
136.5 | 0 | 28 | 1.49 | 2952 | 1.58 | 1.5706
135.3 | 0 | 28 | 1.42 | 2797.5 | 1.22 | 1.2127
134.1 | 0 | 28 | 1.57 | 3104.3 | 1.76 | 1.7495
132.9 | 0 | 28 | 1.45 | 2857.1 | 1.39 | 1.3817
131.7 | 0 | 28 | 1.43 | 2821.4 | 1.39 | 1.3817
130.5 | 0 | 28 | 1.44 | 2845.6 | 1.49 | 1.4811
129.3 | 0 | 28 | 1.38 | 2719.7 | 1.17 | 1.163
128.1 | 0 | 28 | 1.46 | 2889.5 | 1.66 | 1.6501
126.9 | 0 | 28 | 1.41 | 2786.5 | 1.36 | 1.3519
125.7 | 0 | 28 | 1.45 | 2865.5 | 1.41 | 1.4016
124.5 | 0 | 28 | 1.46 | 2887.6 | 1.59 | 1.5805
123.3 | 0 | 28 | 1.43 | 2819.2 | 1.36 | 1.3519
122.1 | 0 | 28 | 1.44 | 2839.3 | 1.61 | 1.6004
120.9 | 0 | 28 | 1.26 | 2494.8 | 1.2 | 1.1928
119.7 | 0 | 28 | 1.43 | 2829.7 | 1.44 | 1.4314
118.5 | 0 | 28 | 1.42 | 2808.8 | 1.47 | 1.4612
117.2 | 0 | 28 | 1.37 | 2701.9 | 1.18 | 1.173
116.1 | 0 | 28 | 1.38 | 2716.5 | 1.55 | 1.5408
114.8 | 0 | 28 | 1.34 | 2650 | 1.29 | 1.2823
113.6 | 0 | 28 | 1.38 | 2719.9 | 1.39 | 1.3817
112.4 | 0 | 28 | 1.37 | 2699.8 | 1.42 | 1.4115
111.2 | 0 | 28 | 1.25 | 2474.3 | 1.09 | 1.0835
110 | 0 | 28 | 1.35 | 2674.6 | 1.49 | 1.4811
108.8 | 0 | 28 | 1.45 | 2854.6 | 1.41 | 1.4016
107.6 | 0 | 28 | 1.36 | 2689.3 | 1.46 | 1.4513
106.4 | 0 | 28 | 1.35 | 2674 | 1.36 | 1.3519
105.1 | 0 | 28 | 1.18 | 2329.8 | 1.09 | 1.0835
104 | 0 | 28 | 1.31 | 2596.1 | 1.37 | 1.3618
102.7 | 0 | 28 | 1.32 | 2611.1 | 1.34 | 1.332
101.5 | 0 | 28 | 1.32 | 2604.3 | 1.37 | 1.3618
100.3 | 0 | 28 | 1.28 | 2535.5 | 1.28 | 1.2724
99.1 | 0 | 28 | 1.22 | 2409.9 | 1.1 | 1.0934
97.9 | 0 | 28 | 1.27 | 2506.8 | 1.3 | 1.2922
96.6 | 0 | 28 | 1.12 | 2212.4 | 1.14 | 1.1332
95.5 | 0 | 28 | 1.21 | 2386.3 | 1.26 | 1.2525
94.3 | 0 | 28 | 1.19 | 2357.2 | 1.15 | 1.1431
93 | 0 | 28 | 1.1 | 2172.1 | 1.02 | 1.0139
91.8 | 0 | 28 | 1.05 | 2070.7 | 1.06 | 1.0537
90.6 | 0 | 28 | 1.13 | 2223.3 | 1.2 | 1.1928
89.4 | 0 | 28 | 1 | 1984.3 | 1.01 | 1.004
88.2 | 0 | 28 | 0.92 | 1815.6 | 0.88 | 0.87475
87 | 0 | 28 | 0.74 | 1455.1 | 0.68 | 0.67594
85.8 | 0 | 28 | 0.7 | 1376.8 | 0.7 | 0.69583
84.5 | 0 | 28 | 0.63 | 1237.5 | 0.66 | 0.65606
83.4 | 0 | 28 | 0.42 | 823 | 0.41 | 0.40755
82.1 | 0 | 28 | 0.4 | 786.6 | 0.41 | 0.40755
80.9 | 0 | 28 | 0.31 | 614.6 | 0.32 | 0.31809
79.7 | 0 | 28 | 0.14 | 285.6 | 0.14 | 0.13917
78.5 | 0 | 28 | 0.01 | 16.8 | 0.01 | 0.0099404
77.3 | 0 | 28 | 0.19 | 374.2 | 0.19 | 0.18887
76.1 | 0 | 28 | 0.47 | 923 | 0.45 | 0.44732
74.9 | 0 | 28 | 0.64 | 1273.5 | 0.61 | 0.60636
73.7 | 0 | 28 | 0.94 | 1866.4 | 0.96 | 0.95427
72.5 | 0 | 28 | 1.05 | 2066.3 | 1.1 | 1.0934
71.3 | 0 | 28 | 1.58 | 3124.4 | 1.59 | 1.5805
70.1 | 0 | 28 | 2.17 | 4293.9 | 2.11 | 2.0974
68.8 | 0 | 28 | 2.71 | 5353.6 | 2.59 | 2.5746
67.6 | 0 | 28 | 2.7 | 5336.5 | 2.97 | 2.9523
66.4 | 0 | 28 | 3.81 | 7533.5 | 3.9 | 3.8767
65.2 | 0 | 28 | 5.68 | 11228.4 | 5.08 | 5.0497
64 | 0 | 28 | 5.44 | 10737.7 | 5.84 | 5.8052
62.8 | 0 | 28 | 7.17 | 14164.2 | 7.34 | 7.2962
61.6 | 0 | 28 | 9.14 | 18049 | 8.96 | 8.9066
60.3 | 0 | 28 | 11.4 | 22510.7 | 11.09 | 11.0239
59.2 | 0 | 28 | 13.18 | 26032.6 | 13.58 | 13.499
58 | 0 | 28 | 16.12 | 31844.9 | 16.64 | 16.5408
56.7 | 0 | 28 | 21.01 | 41488.7 | 20.83 | 20.7058
55.6 | 0 | 28 | 24.13 | 47653 | 25.32 | 25.169
54.3 | 0 | 28 | 31.74 | 62698.2 | 31 | 30.8151
53.1 | 0 | 28 | 37.87 | 74795.4 | 36.88 | 36.66
51.9 | 0 | 28 | 45.95 | 90754.8 | 43.5 | 43.2406
50.7 | 0 | 28 | 51 | 100734.3 | 49.95 | 49.6521
49.5 | 0 | 28 | 54.16 | 106978.1 | 56.65 | 56.3121
48.3 | 0 | 28 | 63.78 | 125970.6 | 63.12 | 62.7435
47.1 | 0 | 28 | 72.41 | 143007.2 | 69.16 | 68.7475
45.9 | 0 | 28 | 66.67 | 131679.2 | 73.59 | 73.1511
44.6 | 0 | 28 | 74.79 | 147718 | 78.75 | 78.2803
43.5 | 0 | 28 | 80.41 | 158823.1 | 82.34 | 81.8489
42.2 | 0 | 28 | 88.98 | 175742.6 | 85.84 | 85.328
41 | 0 | 28 | 91.78 | 181276.4 | 88.6 | 88.0716
39.8 | 0 | 28 | 96.38 | 190353.8 | 90.87 | 90.328
38.6 | 0 | 28 | 91.24 | 180209.4 | 92.02 | 91.4712
37.5 | 0 | 28 | 88.43 | 174652.5 | 93.21 | 92.6541
36.2 | 0 | 28 | 96.66 | 190904.2 | 94.81 | 94.2445
35.1 | 0 | 28 | 99.06 | 195658.4 | 95.45 | 94.8807
33.8 | 0 | 28 | 98.41 | 194363.9 | 96.05 | 95.4771
32.6 | 0 | 28 | 90.09 | 177944 | 96.26 | 95.6859
31.4 | 0 | 28 | 96.4 | 190395.5 | 97.2 | 96.6203
30.1 | 0 | 28 | 98.39 | 194325 | 97.66 | 97.0775
29 | 0 | 28 | 99.26 | 196051.9 | 98.2 | 97.6143
27.7 | 0 | 28 | 101.52 | 200516 | 98.71 | 98.1213
26.6 | 0 | 28 | 100.86 | 199209 | 98.9 | 98.3101
25.3 | 0 | 28 | 100.53 | 198556.1 | 99.06 | 98.4692
24.1 | 0 | 28 | 95.47 | 188559.1 | 98.96 | 98.3698
22.9 | 0 | 28 | 92.33 | 182367.9 | 98.66 | 98.0716
21.7 | 0 | 28 | 99.29 | 196106.8 | 99.59 | 98.996
20.5 | 0 | 28 | 91.76 | 181225.8 | 99.27 | 98.6779
19.3 | 0 | 28 | 112.97 | 223117.9 | 99.97 | 99.3738
18.1 | 0 | 28 | 95.62 | 188852.2 | 99.53 | 98.9364
16.9 | 0 | 28 | 96.43 | 190462.8 | 99.78 | 99.1849
15.7 | 0 | 28 | 103.23 | 203898.1 | 100.32 | 99.7217
14.5 | 0 | 28 | 91.89 | 181500.3 | 99.55 | 98.9563
13.3 | 0 | 28 | 99.61 | 196732 | 100.09 | 99.493
12 | 0 | 28 | 103.57 | 204564.8 | 100.19 | 99.5924
10.9 | 0 | 28 | 104.19 | 205789.6 | 100.22 | 99.6223
9.6 | 0 | 28 | 103.39 | 204210 | 99.93 | 99.334
8.4 | 0 | 28 | 88.92 | 175619.8 | 99.59 | 98.996
7.2 | 0 | 28 | 103.34 | 204110.7 | 99.94 | 99.3439
6 | 0 | 28 | 102.89 | 203224.3 | 100.23 | 99.6322
4.8 | 0 | 28 | 103.42 | 204264.3 | 100.47 | 99.8708
3.6 | 0 | 28 | 106.24 | 209824.2 | 100.47 | 99.8708
2.3 | 0 | 28 | 89.37 | 176522 | 99.8 | 99.2048
1.1 | 0 | 28 | 103.7 | 204815.5 | 100.32 | 99.7217
-0.1 | 0 | 28 | 104.82 | 207030.1 | 100.39 | 99.7913
-1.2 | 0 | 28 | 90.87 | 179470.4 | 99.81 | 99.2147
-2.5 | 0 | 28 | 104.08 | 205566.4 | 100.38 | 99.7813
-3.7 | 0 | 28 | 90.76 | 179251.5 | 99.9 | 99.3042
-4.9 | 0 | 28 | 102.91 | 203261.7 | 100.39 | 99.7913
-6.1 | 0 | 28 | 104.24 | 205880.1 | 100.48 | 99.8807
-7.3 | 0 | 28 | 102.24 | 201942 | 100.39 | 99.7913
-8.5 | 0 | 28 | 108.35 | 213998 | 100.6 | 100
-9.7 | 0 | 28 | 89.16 | 176106.1 | 99.68 | 99.0855
-10.9 | 0 | 28 | 101.67 | 200809.6 | 100.26 | 99.662
-12.1 | 0 | 28 | 102.75 | 202937 | 100.52 | 99.9205
-13.3 | 0 | 28 | 99.33 | 196176.3 | 100.16 | 99.5626
-14.6 | 0 | 28 | 108.47 | 214233.2 | 100.3 | 99.7018
-15.8 | 0 | 28 | 87.37 | 172559.4 | 99.17 | 98.5785
-17 | 0 | 28 | 102.48 | 202402 | 99.95 | 99.3539
-18.2 | 0 | 28 | 103.31 | 204037.5 | 99.76 | 99.165
-19.4 | 0 | 28 | 95.73 | 189073.5 | 99.53 | 98.9364
-20.6 | 0 | 28 | 111.05 | 219332.7 | 100.08 | 99.4831
-21.8 | 0 | 28 | 87.47 | 172769.4 | 99.04 | 98.4493
-23 | 0 | 28 | 102.07 | 201595.5 | 99.45 | 98.8569
-24.3 | 0 | 28 | 102.55 | 202554.2 | 99.14 | 98.5487
-25.4 | 0 | 28 | 93.11 | 183897.5 | 98.38 | 97.7932
-26.7 | 0 | 28 | 114.25 | 225661.5 | 99.26 | 98.668
-27.9 | 0 | 28 | 85.68 | 169231.8 | 98.04 | 97.4553
-29.1 | 0 | 28 | 100.87 | 199232.4 | 98.31 | 97.7237
-30.3 | 0 | 28 | 100.99 | 199471.2 | 97.99 | 97.4056
-31.4 | 0 | 28 | 92.86 | 183403.5 | 97.66 | 97.0775
-32.7 | 0 | 28 | 113.36 | 223904.3 | 97.96 | 97.3757
-33.9 | 0 | 28 | 85.53 | 168922.2 | 96.55 | 95.9742
-35.1 | 0 | 28 | 99.83 | 197170.3 | 96.49 | 95.9145
-36.3 | 0 | 28 | 99.33 | 196193.3 | 96.22 | 95.6461
-37.4 | 0 | 28 | 90.36 | 178468 | 94.67 | 94.1054
-38.7 | 0 | 28 | 110.79 | 218823.1 | 94.92 | 94.3539
-39.9 | 0 | 28 | 83.5 | 164928.2 | 93.04 | 92.4851
-41.1 | 0 | 28 | 97.88 | 193318.9 | 92.06 | 91.5109
-42.4 | 0 | 28 | 79.69 | 157388.7 | 90.07 | 89.5328
-43.5 | 0 | 28 | 91.85 | 181419.2 | 88.52 | 87.992
-44.8 | 0 | 28 | 88.68 | 175155.9 | 85.68 | 85.169
-45.9 | 0 | 28 | 71.21 | 140651.1 | 82.14 | 81.6501
-47.1 | 0 | 28 | 81.69 | 161347 | 79.09 | 78.6183
-48.3 | 0 | 28 | 75.44 | 149006.9 | 74.48 | 74.0358
-49.5 | 0 | 28 | 65.54 | 129444.6 | 69.12 | 68.7078
-50.8 | 0 | 28 | 73.97 | 146105.5 | 63.38 | 63.002
-51.9 | 0 | 28 | 49.14 | 97049.5 | 55.99 | 55.6561
-53.2 | 0 | 28 | 51.3 | 101316.6 | 49.85 | 49.5527
-54.4 | 0 | 28 | 43.62 | 86145.1 | 42.86 | 42.6044
-55.5 | 0 | 28 | 37.62 | 74310.8 | 37.01 | 36.7893
-56.8 | 0 | 28 | 31.11 | 61446.6 | 30.95 | 30.7654
-58 | 0 | 28 | 23.99 | 47384.1 | 25.59 | 25.4374
-59.2 | 0 | 28 | 21.22 | 41920.3 | 21.33 | 21.2028
-60.4 | 0 | 28 | 17.62 | 34798.5 | 17.44 | 17.336
-61.6 | 0 | 28 | 14.7 | 29041.3 | 14.09 | 14.006
-62.9 | 0 | 28 | 11.35 | 22415.3 | 11.37 | 11.3022
-64.1 | 0 | 28 | 8.56 | 16904.1 | 9.18 | 9.1252
-65.3 | 0 | 28 | 8.25 | 16291.3 | 7.93 | 7.8827
-66.5 | 0 | 28 | 6.07 | 11985.6 | 6.38 | 6.3419
-67.7 | 0 | 28 | 5.14 | 10150.3 | 5.07 | 5.0398
-68.9 | 0 | 28 | 4.88 | 9635 | 4.37 | 4.3439
-70.1 | 0 | 28 | 3.1 | 6115.4 | 3.23 | 3.2107
-71.3 | 0 | 28 | 2.74 | 5404 | 2.71 | 2.6938
-72.5 | 0 | 28 | 2.01 | 3967.5 | 2.08 | 2.0676
-73.7 | 0 | 28 | 1.71 | 3370.9 | 1.69 | 1.6799
-75 | 0 | 28 | 1.53 | 3020.2 | 1.39 | 1.3817
-76.1 | 0 | 28 | 0.83 | 1634.2 | 0.83 | 0.82505
-77.4 | 0 | 28 | 0.54 | 1068.2 | 0.55 | 0.54672
-78.6 | 0 | 28 | 0.23 | 459.6 | 0.24 | 0.23857
-79.8 | 0 | 28 | 0.12 | 238.3 | 0.12 | 0.11928
-81 | 0 | 28 | 0.15 | 305.1 | 0.16 | 0.15905
-82.2 | 0 | 28 | 0.23 | 460.9 | 0.23 | 0.22863
-83.4 | 0 | 28 | 0.48 | 943 | 0.51 | 0.50696
-84.6 | 0 | 28 | 0.41 | 817.4 | 0.41 | 0.40755
-85.9 | 0 | 28 | 0.54 | 1059.2 | 0.52 | 0.5169
-87 | 0 | 28 | 0.61 | 1197.6 | 0.58 | 0.57654
-88.2 | 0 | 28 | 0.86 | 1706.5 | 0.88 | 0.87475
-89.5 | 0 | 28 | 0.89 | 1749.9 | 0.94 | 0.93439
-90.7 | 0 | 28 | 0.87 | 1726.8 | 0.89 | 0.88469
-91.9 | 0 | 28 | 0.85 | 1681.8 | 0.79 | 0.78529
-93.1 | 0 | 28 | 1.04 | 2045.7 | 1.07 | 1.0636
-94.3 | 0 | 28 | 1.02 | 2013.1 | 1.01 | 1.004
-95.5 | 0 | 28 | 1.01 | 1990.5 | 1 | 0.99404
-96.7 | 0 | 28 | 1.07 | 2114.7 | 1.06 | 1.0537
-97.9 | 0 | 28 | 1.15 | 2268.9 | 1.11 | 1.1034
-99.2 | 0 | 28 | 1.15 | 2270.5 | 1.09 | 1.0835
-100.3 | 0 | 28 | 1.23 | 2431.2 | 1.33 | 1.3221
-101.6 | 0 | 28 | 1.2 | 2375.8 | 1.24 | 1.2326
-102.8 | 0 | 28 | 1.22 | 2405.6 | 1.18 | 1.173
-104 | 0 | 28 | 1.22 | 2402.3 | 1.18 | 1.173
-105.2 | 0 | 28 | 1.25 | 2475.5 | 1.21 | 1.2028
-106.4 | 0 | 28 | 1.28 | 2520.6 | 1.39 | 1.3817
-107.6 | 0 | 28 | 1.19 | 2347.1 | 1.19 | 1.1829
-108.8 | 0 | 28 | 1.19 | 2358 | 1.18 | 1.173
-110 | 0 | 28 | 1.26 | 2494.8 | 1.23 | 1.2227
-111.3 | 0 | 28 | 1.24 | 2445.2 | 1.2 | 1.1928
-112.4 | 0 | 28 | 1.38 | 2721.4 | 1.5 | 1.4911
-113.6 | 0 | 28 | 1.3 | 2566.2 | 1.29 | 1.2823
-114.9 | 0 | 28 | 1.34 | 2650.2 | 1.3 | 1.2922
-116.1 | 0 | 28 | 1.29 | 2543.2 | 1.25 | 1.2425
-117.3 | 0 | 28 | 1.3 | 2571.5 | 1.26 | 1.2525
-118.5 | 0 | 28 | 1.35 | 2672 | 1.44 | 1.4314
-119.7 | 0 | 28 | 1.3 | 2567.1 | 1.28 | 1.2724
-120.9 | 0 | 28 | 1.3 | 2567.8 | 1.25 | 1.2425
-122.1 | 0 | 28 | 1.23 | 2426.3 | 1.15 | 1.1431
-123.3 | 0 | 28 | 1.28 | 2534.3 | 1.27 | 1.2624
-124.5 | 0 | 28 | 1.29 | 2545.9 | 1.36 | 1.3519
-125.8 | 0 | 28 | 1.25 | 2474.1 | 1.22 | 1.2127
-126.9 | 0 | 28 | 1.26 | 2492 | 1.22 | 1.2127
-128.1 | 0 | 28 | 1.27 | 2506.4 | 1.21 | 1.2028
-129.4 | 0 | 28 | 1.28 | 2527.3 | 1.34 | 1.332
-130.6 | 0 | 28 | 1.29 | 2552.9 | 1.34 | 1.332
-131.8 | 0 | 28 | 1.25 | 2473.7 | 1.22 | 1.2127
-132.9 | 0 | 28 | 1.28 | 2533 | 1.24 | 1.2326
-134.2 | 0 | 28 | 1.35 | 2673.2 | 1.32 | 1.3121
-135.4 | 0 | 28 | 1.39 | 2752 | 1.49 | 1.4811
-136.6 | 0 | 28 | 1.29 | 2554 | 1.29 | 1.2823
-137.9 | 0 | 28 | 1.31 | 2580.5 | 1.29 | 1.2823
-139 | 0 | 28 | 1.35 | 2675.8 | 1.33 | 1.3221
-140.3 | 0 | 28 | 1.34 | 2641.1 | 1.29 | 1.2823
-141.5 | 0 | 28 | 1.34 | 2649.3 | 1.44 | 1.4314
-142.6 | 0 | 28 | 1.29 | 2553.1 | 1.3 | 1.2922
-143.9 | 0 | 28 | 1.24 | 2458.2 | 1.22 | 1.2127
-145 | 0 | 28 | 1.28 | 2528 | 1.25 | 1.2425
-146.3 | 0 | 28 | 1.26 | 2490.9 | 1.21 | 1.2028
-147.5 | 0 | 28 | 1.32 | 2608 | 1.43 | 1.4215
-148.7 | 0 | 28 | 1.34 | 2648.3 | 1.34 | 1.332
-149.9 | 0 | 28 | 1.26 | 2488.1 | 1.23 | 1.2227
-151.4 | 0 | 28 | 1.31 | 2592.9 | 1.28 | 1.2724
Measurement time: | 02/09/2022 21:07:10
Radiation device: | Clinac3 Accelerator
Energy: | 12 MeV
Controller: | CCU
Measurement device: | Blue Phantom 2 (48*48*41)
Field detector: | CC 13 - F
Reference detector: | CC 13 - R pas offset energie
SAD: | 1000 mm
SSD: | 1000 mm
Field size: | 100 x 100 mm
Gantry angle: | 0
Measurement medium: | Water
Scan type: | Inline
Scan mode: | Continuous
Wedge: | none
Points [mm]:
Inline | Crossline | Depth | Normalized field | Current field | Ratio
151.4 | 0 | 28 | 1.61 | 3178 | 2.13 | 2.1133
150.2 | 0 | 28 | 1.47 | 2898.9 | 1.43 | 1.4188
147.9 | 0 | 28 | 1.46 | 2886.2 | 1.59 | 1.5775
146.9 | 0 | 28 | 1.4 | 2759.1 | 1.43 | 1.4188
145.4 | 0 | 28 | 1.47 | 2897.8 | 1.26 | 1.2501
144.1 | 0 | 28 | 1.45 | 2862.9 | 1.42 | 1.4089
142.7 | 0 | 28 | 1.5 | 2972 | 1.8 | 1.7859
141.4 | 0 | 28 | 1.49 | 2939.1 | 1.37 | 1.3593
140.2 | 0 | 28 | 1.43 | 2815.5 | 1.59 | 1.5775
139 | 0 | 28 | 1.41 | 2777.9 | 1.21 | 1.2005
137.8 | 0 | 28 | 1.39 | 2751 | 1.61 | 1.5974
136.7 | 0 | 28 | 1.39 | 2748.3 | 1.33 | 1.3196
135.6 | 0 | 28 | 1.38 | 2722.9 | 1.31 | 1.2997
134.3 | 0 | 28 | 1.46 | 2892.5 | 1.6 | 1.5875
133.2 | 0 | 28 | 1.39 | 2748.1 | 1.21 | 1.2005
132 | 0 | 28 | 1.34 | 2652.3 | 1.21 | 1.2005
130.8 | 0 | 28 | 1.53 | 3013.3 | 1.9 | 1.8851
129.5 | 0 | 28 | 1.43 | 2833.8 | 1.34 | 1.3295
128.3 | 0 | 28 | 1.4 | 2756.4 | 1.5 | 1.4882
127.1 | 0 | 28 | 1.43 | 2825 | 1.27 | 1.26
125.8 | 0 | 28 | 1.4 | 2756.1 | 1.46 | 1.4486
124.6 | 0 | 28 | 1.34 | 2655.3 | 1.4 | 1.389
123.3 | 0 | 28 | 1.32 | 2610.3 | 1.16 | 1.1509
122.2 | 0 | 28 | 1.41 | 2779.2 | 1.59 | 1.5775
121 | 0 | 28 | 1.23 | 2438.6 | 1.02 | 1.012
119.7 | 0 | 28 | 1.46 | 2888.7 | 1.48 | 1.4684
118.6 | 0 | 28 | 1.4 | 2758 | 1.68 | 1.6668
117.3 | 0 | 28 | 1.34 | 2647.3 | 1.15 | 1.141
116.1 | 0 | 28 | 1.36 | 2690.9 | 1.49 | 1.4783
114.8 | 0 | 28 | 1.4 | 2771 | 1.42 | 1.4089
113.6 | 0 | 28 | 1.38 | 2727.5 | 1.25 | 1.2402
112.4 | 0 | 28 | 1.37 | 2696.3 | 1.46 | 1.4486
111.1 | 0 | 28 | 1.28 | 2537.4 | 1.11 | 1.1013
110 | 0 | 28 | 1.31 | 2587 | 1.42 | 1.4089
108.7 | 0 | 28 | 1.27 | 2517.1 | 1.09 | 1.0815
107.5 | 0 | 28 | 1.24 | 2448 | 1.26 | 1.2501
106.3 | 0 | 28 | 1.4 | 2761.8 | 1.61 | 1.5974
105.1 | 0 | 28 | 1.16 | 2298.2 | 1.02 | 1.012
103.9 | 0 | 28 | 1.32 | 2610.2 | 1.42 | 1.4089
102.7 | 0 | 28 | 1.3 | 2571.6 | 1.32 | 1.3097
101.4 | 0 | 28 | 1.21 | 2381.2 | 1.1 | 1.0914
100.3 | 0 | 28 | 1.31 | 2594.8 | 1.41 | 1.3989
99 | 0 | 28 | 1.31 | 2578.8 | 1.49 | 1.4783
97.8 | 0 | 28 | 1.22 | 2415.3 | 1.21 | 1.2005
96.6 | 0 | 28 | 1.22 | 2404.4 | 1.12 | 1.1112
95.4 | 0 | 28 | 1.22 | 2417.1 | 1.35 | 1.3394
94.2 | 0 | 28 | 1.27 | 2516.9 | 1.44 | 1.4287
92.9 | 0 | 28 | 1.17 | 2319.1 | 1.08 | 1.0715
91.8 | 0 | 28 | 1.04 | 2048.9 | 1.03 | 1.0219
90.5 | 0 | 28 | 1 | 1976.1 | 1.09 | 1.0815
89.2 | 0 | 28 | 0.84 | 1653.5 | 0.72 | 0.71436
88.1 | 0 | 28 | 0.99 | 1961.7 | 1.09 | 1.0815
86.8 | 0 | 28 | 0.8 | 1585.4 | 0.82 | 0.81357
85.6 | 0 | 28 | 0.67 | 1328.2 | 0.62 | 0.61514
84.4 | 0 | 28 | 0.36 | 709.4 | 0.3 | 0.29765
83.1 | 0 | 28 | 0.56 | 1100.5 | 0.61 | 0.60522
82 | 0 | 28 | 0.57 | 1132.1 | 0.65 | 0.64491
80.7 | 0 | 28 | 0.37 | 730 | 0.38 | 0.37702
79.6 | 0 | 28 | 0.02 | 40.2 | 0.02 | 0.019843
78.3 | 0 | 28 | 0.14 | 274 | 0.15 | 0.14882
77.1 | 0 | 28 | 0.43 | 839.5 | 0.37 | 0.3671
75.9 | 0 | 28 | 0.27 | 523.5 | 0.29 | 0.28773
74.6 | 0 | 28 | 0.49 | 966.7 | 0.5 | 0.49608
73.5 | 0 | 28 | 1.11 | 2196.3 | 1.03 | 1.0219
72.2 | 0 | 28 | 1.9 | 3751.1 | 1.54 | 1.5279
71 | 0 | 28 | 1.17 | 2301.7 | 1.37 | 1.3593
69.8 | 0 | 28 | 1.71 | 3375.8 | 1.87 | 1.8553
68.6 | 0 | 28 | 2.33 | 4595.8 | 2.4 | 2.3812
67.4 | 0 | 28 | 3.61 | 7128.6 | 3.28 | 3.2543
66.1 | 0 | 28 | 3.16 | 6238.7 | 3.62 | 3.5916
64.9 | 0 | 28 | 5.26 | 10392.5 | 4.98 | 4.941
63.8 | 0 | 28 | 5.53 | 10914.7 | 5.8 | 5.7545
62.5 | 0 | 28 | 6.51 | 12857.6 | 6.99 | 6.9352
61.3 | 0 | 28 | 10.62 | 20971.5 | 9.29 | 9.2172
60.1 | 0 | 28 | 12.74 | 25154.3 | 11.26 | 11.1717
58.9 | 0 | 28 | 9.61 | 18980.1 | 12.9 | 12.7989
57.6 | 0 | 28 | 18.41 | 36351.9 | 17.3 | 17.1644
56.4 | 0 | 28 | 18.41 | 36353.8 | 20.49 | 20.3294
55.3 | 0 | 28 | 29.24 | 57754.4 | 26.05 | 25.8458
53.9 | 0 | 28 | 29.07 | 57409 | 31.67 | 31.4218
52.8 | 0 | 28 | 35.57 | 70258.9 | 36.73 | 36.4421
51.5 | 0 | 28 | 47.94 | 94688.4 | 44.34 | 43.9925
50.3 | 0 | 28 | 46.95 | 92724.3 | 50.25 | 49.8561
49.1 | 0 | 28 | 65.35 | 129074 | 57.8 | 57.347
47.9 | 0 | 28 | 69.33 | 136932.3 | 63.56 | 63.0618
46.7 | 0 | 28 | 56.5 | 111599.9 | 69.06 | 68.5187
45.5 | 0 | 28 | 81.15 | 160282.6 | 75.39 | 74.7991
44.2 | 0 | 28 | 73.38 | 144932.8 | 78.92 | 78.3014
43 | 0 | 28 | 90.38 | 178515.6 | 83.32 | 82.6669
41.8 | 0 | 28 | 83.29 | 164513.6 | 85.73 | 85.058
40.6 | 0 | 28 | 85.39 | 168645.7 | 88.48 | 87.7865
39.4 | 0 | 28 | 103.59 | 204603.2 | 91.14 | 90.4256
38.1 | 0 | 28 | 81.06 | 160099.9 | 92.11 | 91.388
37 | 0 | 28 | 112.18 | 221571.2 | 94.34 | 93.6006
35.7 | 0 | 28 | 93.64 | 184950.4 | 94.24 | 93.5013
34.5 | 0 | 28 | 81.29 | 160549.4 | 94.96 | 94.2157
33.2 | 0 | 28 | 111.6 | 220415.9 | 96.34 | 95.5849
32 | 0 | 28 | 89.54 | 176842 | 96.61 | 95.8528
30.8 | 0 | 28 | 95.53 | 188679.5 | 97.36 | 96.5969
29.5 | 0 | 28 | 107.08 | 211493.2 | 98.29 | 97.5196
28.3 | 0 | 28 | 92.24 | 182189 | 97.35 | 96.587
27.1 | 0 | 28 | 112.09 | 221391.4 | 99.08 | 98.3034
25.9 | 0 | 28 | 75.73 | 149582 | 97.92 | 97.1525
24.7 | 0 | 28 | 103.96 | 205325.4 | 98.91 | 98.1347
23.5 | 0 | 28 | 92.63 | 182944.6 | 98.88 | 98.105
22.3 | 0 | 28 | 86.69 | 171211.2 | 98.62 | 97.847
21 | 0 | 28 | 112.97 | 223135.2 | 99.86 | 99.0773
19.9 | 0 | 28 | 92.99 | 183666.8 | 99.4 | 98.6209
18.7 | 0 | 28 | 97.48 | 192539.4 | 99.02 | 98.2439
17.4 | 0 | 28 | 109.02 | 215329.9 | 100.13 | 99.3452
16.3 | 0 | 28 | 94.25 | 186160.6 | 99.85 | 99.0674
15 | 0 | 28 | 112.1 | 221408.3 | 100.77 | 99.9802
13.8 | 0 | 28 | 95.5 | 188622.7 | 99.53 | 98.7499
12.5 | 0 | 28 | 122.66 | 242267.7 | 100.79 | 100
11.3 | 0 | 28 | 92.95 | 183592.8 | 99.38 | 98.6011
10.2 | 0 | 28 | 87.3 | 172433.5 | 99.71 | 98.9285
8.9 | 0 | 28 | 102.97 | 203375 | 100.23 | 99.4444
7.7 | 0 | 28 | 106.5 | 210342.4 | 100.46 | 99.6726
6.5 | 0 | 28 | 91.71 | 181130 | 99.08 | 98.3034
5.3 | 0 | 28 | 116.8 | 230700.4 | 100.69 | 99.9008
4.1 | 0 | 28 | 92.42 | 182537.5 | 99.83 | 99.0475
2.8 | 0 | 28 | 96.45 | 190501.9 | 100 | 99.2162
1.6 | 0 | 28 | 85.2 | 168283.5 | 99.18 | 98.4026
0.4 | 0 | 28 | 115.3 | 227719.1 | 100 | 99.2162
-0.8 | 0 | 28 | 89.82 | 177411.6 | 99.62 | 98.8392
-2 | 0 | 28 | 91.54 | 180807.2 | 99.91 | 99.1269
-3.3 | 0 | 28 | 98.41 | 194378 | 99.83 | 99.0475
-4.4 | 0 | 28 | 109.58 | 216428.7 | 100.64 | 99.8512
-5.7 | 0 | 28 | 93.41 | 184488.8 | 100.08 | 99.2956
-6.9 | 0 | 28 | 108.5 | 214305.5 | 100.72 | 99.9305
-8.2 | 0 | 28 | 97.85 | 193270 | 99.37 | 98.5911
-9.4 | 0 | 28 | 96.55 | 190686.5 | 99.91 | 99.1269
-10.6 | 0 | 28 | 114.21 | 225581.4 | 100.61 | 99.8214
-11.8 | 0 | 28 | 119.57 | 236170.9 | 100.7 | 99.9107
-13 | 0 | 28 | 80.53 | 159053.4 | 99.21 | 98.4324
-14.3 | 0 | 28 | 95.8 | 189208.3 | 99.89 | 99.1071
-15.5 | 0 | 28 | 97.19 | 191963.6 | 100.09 | 99.3055
-16.7 | 0 | 28 | 114.42 | 225984.5 | 100.58 | 99.7916
-17.9 | 0 | 28 | 87.37 | 172555.9 | 99.26 | 98.482
-19.1 | 0 | 28 | 108.83 | 214949.3 | 100.08 | 99.2956
-20.3 | 0 | 28 | 101.27 | 200015 | 99.56 | 98.7796
-21.5 | 0 | 28 | 90.05 | 177852.5 | 98.96 | 98.1843
-22.7 | 0 | 28 | 115.9 | 228919.9 | 99.85 | 99.0674
-24 | 0 | 28 | 111.47 | 220155.8 | 99.88 | 99.0971
-25.2 | 0 | 28 | 77.96 | 153978.7 | 98.15 | 97.3807
-26.4 | 0 | 28 | 106.52 | 210381.7 | 98.99 | 98.2141
-27.6 | 0 | 28 | 91.64 | 181006.1 | 98.41 | 97.6387
-28.8 | 0 | 28 | 110.96 | 219151.8 | 98.88 | 98.105
-30.1 | 0 | 28 | 90.58 | 178912.2 | 98.01 | 97.2418
-31.3 | 0 | 28 | 95.1 | 187837.6 | 97.75 | 96.9838
-32.5 | 0 | 28 | 104.85 | 207081.6 | 97.33 | 96.5671
-33.8 | 0 | 28 | 88.78 | 175339.1 | 97.01 | 96.2496
-35 | 0 | 28 | 113.47 | 224119.8 | 97.3 | 96.5374
-36.2 | 0 | 28 | 97.59 | 192747.6 | 96.41 | 95.6543
-37.4 | 0 | 28 | 77.78 | 153629.2 | 94.23 | 93.4914
-38.6 | 0 | 28 | 107.17 | 211667.8 | 95.37 | 94.6225
-39.8 | 0 | 28 | 83.25 | 164419.6 | 93.16 | 92.4298
-41 | 0 | 28 | 93.48 | 184622.9 | 92.89 | 92.1619
-42.3 | 0 | 28 | 94.61 | 186859.7 | 91.02 | 90.3066
-43.4 | 0 | 28 | 81.93 | 161815.7 | 89.04 | 88.3421
-44.7 | 0 | 28 | 98.31 | 194176.7 | 87 | 86.3181
-46 | 0 | 28 | 92.36 | 182410.6 | 84.17 | 83.5103
-47.2 | 0 | 28 | 74.46 | 147067.8 | 79.18 | 78.5594
-48.5 | 0 | 28 | 72.56 | 143322.2 | 75.47 | 74.8785
-49.6 | 0 | 28 | 56.24 | 111078.4 | 69.34 | 68.7965
-50.8 | 0 | 28 | 72.6 | 143393 | 64.43 | 63.925
-52 | 0 | 28 | 65.14 | 128654.7 | 58.62 | 58.1605
-53.2 | 0 | 28 | 49.01 | 96805.9 | 50.93 | 50.5308
-54.5 | 0 | 28 | 40.62 | 80231.2 | 44.65 | 44.3
-55.6 | 0 | 28 | 43.05 | 85026.4 | 38.02 | 37.722
-56.9 | 0 | 28 | 27.4 | 54124.5 | 31.24 | 30.9951
-58.2 | 0 | 28 | 26.41 | 52157.8 | 26.78 | 26.5701
-59.3 | 0 | 28 | 22.67 | 44769.2 | 21.44 | 21.272
-60.5 | 0 | 28 | 15.71 | 31031.3 | 17.84 | 17.7002
-61.8 | 0 | 28 | 12.25 | 24200.6 | 14.23 | 14.1185
-63 | 0 | 28 | 14.35 | 28346.2 | 12.09 | 11.9952
-64.2 | 0 | 28 | 9.66 | 19077.3 | 9.82 | 9.743
-65.4 | 0 | 28 | 8.58 | 16948 | 7.94 | 7.8778
-66.6 | 0 | 28 | 5.76 | 11379.7 | 6.31 | 6.2605
-67.8 | 0 | 28 | 6.14 | 12127.3 | 5.51 | 5.4668
-69 | 0 | 28 | 3.72 | 7342.8 | 4.1 | 4.0679
-70.3 | 0 | 28 | 3.33 | 6575.4 | 3.45 | 3.423
-71.5 | 0 | 28 | 2.93 | 5793.4 | 2.69 | 2.6689
-72.7 | 0 | 28 | 1.77 | 3486.5 | 1.93 | 1.9149
-73.9 | 0 | 28 | 1.07 | 2121.7 | 1.24 | 1.2303
-75.1 | 0 | 28 | 1.29 | 2547.8 | 1.26 | 1.2501
-76.3 | 0 | 28 | 0.93 | 1829.3 | 0.88 | 0.8731
-77.6 | 0 | 28 | 0.39 | 766.7 | 0.43 | 0.42663
-78.8 | 0 | 28 | 0.59 | 1164.3 | 0.51 | 0.506
-80 | 0 | 28 | 0.12 | 234.6 | 0.13 | 0.12898
-81.2 | 0 | 28 | 0.18 | 353 | 0.19 | 0.18851
-82.4 | 0 | 28 | 0.16 | 323.1 | 0.15 | 0.14882
-83.7 | 0 | 28 | 0.11 | 226.3 | 0.09 | 0.089295
-84.9 | 0 | 28 | 0.68 | 1345.6 | 0.81 | 0.80365
-86.1 | 0 | 28 | 0.65 | 1274.7 | 0.7 | 0.69451
-87.3 | 0 | 28 | 0.72 | 1430.1 | 0.74 | 0.7342
-88.5 | 0 | 28 | 0.64 | 1271.8 | 0.58 | 0.57545
-89.8 | 0 | 28 | 0.98 | 1942.3 | 1.14 | 1.1311
-91 | 0 | 28 | 0.86 | 1694.4 | 0.83 | 0.82349
-92.3 | 0 | 28 | 1.01 | 2002.9 | 0.97 | 0.9624
-93.5 | 0 | 28 | 1.14 | 2261.2 | 1.27 | 1.26
-94.7 | 0 | 28 | 0.9 | 1777.3 | 0.77 | 0.76396
-95.9 | 0 | 28 | 1.01 | 1997.1 | 0.88 | 0.8731
-97.1 | 0 | 28 | 1.25 | 2459.7 | 1.6 | 1.5875
-98.3 | 0 | 28 | 1.14 | 2258.1 | 1.1 | 1.0914
-99.6 | 0 | 28 | 1.25 | 2461.8 | 1.38 | 1.3692
-100.7 | 0 | 28 | 1.09 | 2150.7 | 0.94 | 0.93263
-102 | 0 | 28 | 1.25 | 2461.1 | 1.38 | 1.3692
-103.2 | 0 | 28 | 1.22 | 2418.8 | 1.25 | 1.2402
-104.4 | 0 | 28 | 1.22 | 2401.1 | 1.12 | 1.1112
-105.7 | 0 | 28 | 1.27 | 2511.8 | 1.37 | 1.3593
-106.8 | 0 | 28 | 1.27 | 2510.1 | 1.12 | 1.1112
-108.1 | 0 | 28 | 1.23 | 2432.5 | 1.18 | 1.1708
-109.3 | 0 | 28 | 1.31 | 2583 | 1.53 | 1.518
-110.6 | 0 | 28 | 1.12 | 2212.9 | 1.02 | 1.012
-111.8 | 0 | 28 | 1.3 | 2558.9 | 1.41 | 1.3989
-113 | 0 | 28 | 1.19 | 2354.6 | 1.08 | 1.0715
-114.2 | 0 | 28 | 1.24 | 2451.2 | 1.31 | 1.2997
-115.4 | 0 | 28 | 1.43 | 2830.9 | 1.45 | 1.4386
-116.6 | 0 | 28 | 1.29 | 2555.8 | 1.15 | 1.141
-117.8 | 0 | 28 | 1.41 | 2783.4 | 1.59 | 1.5775
-119 | 0 | 28 | 1.19 | 2344 | 0.99 | 0.98224
-120.3 | 0 | 28 | 1.4 | 2767.7 | 1.4 | 1.389
-121.5 | 0 | 28 | 1.32 | 2609.7 | 1.56 | 1.5478
-122.8 | 0 | 28 | 1.36 | 2677.7 | 1.18 | 1.1708
-124 | 0 | 28 | 1.31 | 2596.1 | 1.44 | 1.4287
-125.1 | 0 | 28 | 1.33 | 2626 | 1.36 | 1.3493
-126.4 | 0 | 28 | 1.29 | 2538.3 | 1.17 | 1.1608
-127.6 | 0 | 28 | 1.31 | 2584.1 | 1.39 | 1.3791
-128.8 | 0 | 28 | 1.28 | 2518.6 | 1.1 | 1.0914
-130 | 0 | 28 | 1.4 | 2767.7 | 1.76 | 1.7462
-131.2 | 0 | 28 | 1.32 | 2608.2 | 1.37 | 1.3593
-132.4 | 0 | 28 | 1.37 | 2701 | 1.42 | 1.4089
-133.6 | 0 | 28 | 1.39 | 2746.5 | 1.58 | 1.5676
-134.8 | 0 | 28 | 1.25 | 2475.4 | 1.15 | 1.141
-136 | 0 | 28 | 1.36 | 2676.4 | 1.43 | 1.4188
-137.2 | 0 | 28 | 1.29 | 2551.7 | 1.31 | 1.2997
-138.5 | 0 | 28 | 1.21 | 2395.2 | 1.1 | 1.0914
-139.7 | 0 | 28 | 1.46 | 2874.3 | 1.56 | 1.5478
-140.9 | 0 | 28 | 1.31 | 2595.9 | 1.19 | 1.1807
-142.1 | 0 | 28 | 1.36 | 2677.5 | 1.42 | 1.4089
-143.3 | 0 | 28 | 1.25 | 2475.1 | 1.02 | 1.012
-144.6 | 0 | 28 | 1.33 | 2636.6 | 1.46 | 1.4486
-145.7 | 0 | 28 | 1.4 | 2772.4 | 1.61 | 1.5974
-147 | 0 | 28 | 1.33 | 2631.7 | 1.21 | 1.2005
-148.2 | 0 | 28 | 1.34 | 2651.7 | 1.4 | 1.389
-149.4 | 0 | 28 | 1.45 | 2870.5 | 1.52 | 1.5081
-150.5 | 0 | 28 | 1.19 | 2352.4 | 1.04 | 1.0318
-151.4 | 0 | 28 | 1.35 | 2665 | 1.41 | 1.3989